Health and Safety Authority

Draft 26 January 2010

Code of Practice

for the

Safety, Health and Welfare at Work

(Biological Agents) Regulations 2010

(S.I. No. xxx of 2010)

Contents											Page

Foreword……………………………………………………………………………………3

Periodic Revision of the Code of Practice	………………………………………………..4

Section 1 – Introduction…………………………………………………………………....5

Section 2 - Definitions/Glossary…………………………………………………………....5

Section 3- Schedule 1 Introductory Notes………………………………………………….6

Schedule 1- List of Biological Agents ……………………………………………………….9

Part 1:		Bacteria………………………………………………………………………….9

Part 2:		Viruses…………………………………………………………………………13

Part 3:		Parasites…………………………………………………………………….….19

Part 4:		Fungi…………………………………………………………………………...22

Schedule 2- Indications Concerning Containment Levels & Containment Measures…….24

Schedule 3- Containment Measures & Containment Levels for Industrial Processes……25

Schedule 4- Biological Agents: Dispensation of Minimum Containment Measures… …

# Foreword

The Health and Safety Authority, with the consent of the Minister for Labour Affairs, and following public consultation, publishes this Code of Practice entitled “Code of Practice for the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 (S.I. No. xx of 2010)”, hereafter referred to as the Biological Agents Regulations 2010, in accordance with section 60 of the Safety, Health and Welfare at Work Act 2005 (No. 10 of 2005).

This Code of Practice provides practical guidance as to the observance of the Biological Agents Regulations 2010, particularly as regards the provisions of Regulations 8, 16, 18 and 19 and the Schedules to the Regulations, in relation to classification of biological agents as defined in Regulation 2 and as listed in Schedule 1 to the Code, having regard to the provisions of the Safety, Health and Welfare at Work Act 2005.

This Code of Practice comes into effect on XX YYY 2010

# Notice of issue of this Code of Practice, was published in the Iris Oifigiúil of XXXX 2010

As regards the use of Codes of Practice in criminal proceedings, section 61 of the 2005 Act provides as follows -

“61.—(1) Where in proceedings for an offence under this Act relating to an alleged contravention of any requirement or prohibition imposed by or under a relevant statutory provision being a provision for which a code of practice had been published or approved by the Authority under section 60 at the time of the alleged contravention, subsection (2) shall have effect with respect to that code of practice in relation to those proceedings.

(2) (a) Where a code of practice referred to in subsection (1) appears to the court to give practical guidance as to the observance of the requirement or prohibition alleged to have been contravened; the code of practice shall be admissible in evidence.

(b)Where it is proved that any act or omission of the defendant alleged to constitute the contravention—

(i) is a failure to observe a code of practice referred to in subsection (1), or

(ii) is a compliance with that code of practice,

then such failure or compliance is admissible in evidence.

(3) A document bearing the seal of the Authority and purporting to be a code of practice or part of a code of practice published or approved of by the Authority under this section shall be admissible as evidence in any proceedings under this Act.”

Periodic revision of the Code of Practice

A revision of the classifications listed in Schedule 1, to reflect current knowledge concerning the health hazards of the listed biological agents, will be undertaken by the Health and Safety Authority, where appropriate, under the normal consultation process.

Comments, concerning any of the classifications and containment measures may be made in writing to the Chemical Policy Services Section of the Health and Safety Authority at Hebron House, Hebron Road, Kilkenny or its headquarters, Metropolitan Building, James Joyce Street, Dublin 1 or electronically through www.hsa.ie.

1. Introduction

The Biological Agents Regulations 2010, inter alia, transpose the community classification of biological agents set out Directive 2000/54/EC of the European Parliament and of the Council of 18 September 2000 on the protection of workers from risks related to exposure to biological agents at work.  This Code of Practice should be read in conjunction with the Regulations.

2. Definitions/Glossary

“Authority” means the Health and Safety Authority

“Biological Agent” means a micro-organism, including those which have been genetically modified, a cell culture and a human endoparasite, which may be able to provoke any infection, allergy or toxicity, classified into four risk groups according to their level of risk of infection, as follows:-

- a “group 1 biological agent” is one that is unlikely to cause human disease;

- a “group 2 biological agent” is one which can cause human disease and might be a hazard to employees, although it is unlikely to spread to the community and in respect of which there is usually effective prophylaxis or treatment available;

- a “group 3 biological agent” is one which can cause human disease and might be a hazard to employees, although it is unlikely to spread to the community and in respect of which there is usually effective prophylaxis or treatment available;

- a “ group 4 biological agent” is one which causes severe human disease and is a serious hazard to employees and which may present a high risk of spreading to the community and in respect of which there is usually no effective prophylaxis or treatment available;

“cell culture” is the in-vitro growth of cells derived from multicellular organisms;

“micro-organism” means a microbiological entity, cellular or non-cellular, capable of replication or of transferring genetic material;

3. Schedule 1

Introductory Notes:

Only agents that are known to infect humans are included in Schedule 1 and classifications are based on the effect of those agents on healthy workers. Animal and plant pathogens which are known not to affect humans are excluded. The list does not give consideration to genetically modified micro-organisms (GMO’s).

Biological Agents listed in this Code of Practice are classified into four different groups based on their ability to cause disease by infection. Only agents in groups 2, 3, 4 are listed, those not listed in these groups are not classified as group 1 agents by default.

There is a requirement in the Biological Agents Regulations to maintain a list of employees exposed to hazard group 3 and/or 4 biological agents for at least 10 years after the last exposure (see Regulation X).  This requirement is also extended to cover employees exposed to some hazard group 2 agents: Human Herpes Virus (HHV) type 8, BK & JC viruses, Human Papillomaviruses.  In the case of certain biological agents with chronic health effects the list shall be kept for an appropriately longer time, up to 40 years following the last known exposure.

Schedule 1 gives an indication of those biological agents that are capable of causing allergic or toxic reactions, where there is an effective vaccine available or where it is advisable to keep a list of exposed workers for more than 10 years. The following notations are used:

A: Possible allergic effects.

T: Toxin production.

V: Effective vaccine available.

D: List of Workers exposed to this biological agent to be kept for more than ten years after the end of last known exposure.

When biological agents are allocated to a hazard group, no account is taken of any additional risks to employees, whose susceptibility to infection may be compromised, for example, because of medication, pre-existing disease, pregnancy or breast-feeding. This should be considered as part of the overall risk assessment required by the Safety, Health and Welfare at Work Act 2005.

If more than one species of a particular genus is known to be pathogenic to humans, the agent most frequently responsible for diseases is named. Where other species of the same genus may be hazardous to health, the wider reference “spp” is used. However, if a whole genus is indicated in this way, it is implied that species and strains that are non-pathogenic to humans are excluded.

Certain biological agents classified in group 3 which are indicated in the list by an asterisk (*), may present a limited risk of infection for workers because they are not normally infectious by the airborne route. Certain Group 3 agents may not necessarily need to use all the containment measures required at Containment Level 3, due to the nature of the agent and/or the nature of the work that is being undertaken.  An employer may, for biological agents so specified, having completed an appropriate risk assessment, dispense with some group 3 containment measures.  Schedule 4 indicates measures that may be dispensed with for these specified biological agents.

Where a biological agent has been attenuated or has lost known virulence genes, then the containment required by the classification of its parent strain need not necessarily apply, subject to risk assessment appropriate for the workplace. For example, if an agent is to be used in a product for prophylactic or therapeutic purposes.

All viruses which have been isolated from humans but which do not have an approved classification should be classified as group 2 agents at a minimum. Unless there is evidence that they are unlikely to cause disease in humans.

The containment measures for work with parasites apply only to the stages in the life cycle of the parasite during which it is possible to cause infection in humans.

The list of classified biological agents reflects the state of knowledge at the time it was devised in directive 2000/54/EC. Also included are additional agents and notes (indicated by superscript 1 in schedules) from an approved list developed by the UK Advisory Committee on Dangerous Pathogens (ACDP) in 2004.

SCHEDULE 1:

Part 1: BACTERIA

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Bacteria |
| Actinobacillus actinomycetemcomitans | 2 |  |
| Actinomadura madurae | 2 |  |
| Actinomadura pelletieri | 2 |  |
| Actinomyces gerencseriae | 2 |  |
| Actinomyces israelii | 2 |  |
| Actinomyces pyogenes | 2 |  |
| Actinomyces spp. Alcaligenes spp. | 2 2 |  |
| Arcanobacterium haemolyticum (Corynebacterium haemolyticum) | 2 |  |
| Bacillus anthracis | 3 |  |
| Bacillus cereus1 | 2 |  |
| Bacteriodes fragilis | 2 |  |
| Bacteriodes spp. 1 | 2 |  |
| Bartonella bacilliformis Bartonella quintana (Rochalimaea quintana) | 2 2 |  |
| Bartonella (Rochalimaea) spp. | 2 |  |
| Bordetella bronchiseptica | 2 |  |
| Bordetella parapertussis | 2 |  |
| Bordetella pertussis | 2 | V, |
| Borrelia burgdorferi | 2 |  |
| Borrelia duttonii | 2 |  |
| Borrelia recurrentis | 2 |  |
| Borrelia spp. | 2 |  |
| Brucella abortus | 3 |  |
| Brucella canis | 3 |  |
| Brucella melitensis | 3 |  |
| Brucella suis | 3 |  |
| Burkholderia cepacia1 Burkholderia mallei (Pseudomonas mallei) Burkholderia pseudomallei (Pseudomonas pseudomallei) | 2 3 3 |  |
| Campylobacter fetus | 2 |  |
| Campylobacter jejuni | 2 |  |
| Campylobacter spp. | 2 |  |
| Cardiobacterium hominis | 2 |  |
| Chlamydia pneumonia | 2 |  |
| Chlamydia trachomatis | 2 |  |
| Chlamydia psittaci (avian strains) | 3 |  |
| Chlamydia psittaci (other strains) | 2 |  |
| Clostridium botulinum | 2 | T1, V1 |
| Clostridium perfringens | 2 |  |
| Biological Agent | Classification | Notes |
| Bacteria |
| Clostridium tetani | 2 | T, V |
| Clostridium spp | 2 |  |
| Corynebacterium diptheriae | 2 | T,V, |
| Corynebacterium minutissimum | 2 |  |
| Corynebacterium pseudotuberculosis | 2 |  |
| Corynebacterium spp. | 2 |  |
| Coxiella burnetii | 3 |  |
| Edwardsiella tarda | 2 |  |
| Ehrlichia sennetsu (Rickettsia sennetsu) | 31 |  |
| Ehrlichia spp. | 2 |  |
| Eikenella corrodens | 2 |  |
| Enterobacter aerogenes/cloacae | 2 |  |
| Enterobacter spp. | 2 |  |
| Entercoccus spp. | 2 |  |
| Erysipelothrix rhusiopathiae | 2 |  |
| Escherichia coli (with the exception of non-pathogenic strains) | 2 |  |
| Escherichia coli, verocytotoxigenic strains (e.g. O157:H7 or O103) | 3(*) |  |
| Flavobacterium meningosepticum | 2 |  |
| Fluoribacter bozemanae (Legionella) | 2 |  |
| Francisella tularensis (Type A) | 3 |  |
| Francisella tularensis (Type B) | 2 |  |
| Fusobacterium necrophorum | 2 |  |
| Gardenerella vaginalis | 2 |  |
| Haemophilus ducreyi | 2 |  |
| Haemophilus influenzae | 2 |  |
| Haemophilus spp. | 2 |  |
| Helicobacter pylori | 2 |  |
| Klebsiella oxytoca | 2 |  |
| Klebsiella pneumoniae | 2 |  |
| Klebsiella spp. | 2 |  |
| Legionella pneumophila | 2 |  |
| Legionella spp. | 2 |  |
| Leptospira interrogans (all serovars) | 2 |  |
| Listeria monocytogenes | 2 |  |
| Listeria ivanovii | 2 |  |
| Moraxella catarrhalis1 | 2 |  |
| Morganella morganii | 2 |  |
| Mycobacterium africanum | 3 | V |
| Mycobacterium avium/intracellulare | 2 |  |
| Mycobacterium bovis (except BCG strain) Mycobacterium bovis (BCG strain)1 | 3 2 | V |
| Mycobacterium chelonae | 2 |  |
| Mycobacterium fortuitum | 2 |  |
| Mycobacterium kansasii Mycobacterium leprae | 2 3 | V1 |
| Biological Agent | Classification | Notes |
| Bacteria |
| Mycobacterium malmoense | 31 |  |
| Mycobacterium marinum | 2 |  |
| Mycobacterium microti | 3 (*) |  |
| Mycobacterium paratuberculosis | 2 |  |
| Mycobacterium scrofulaceum | 2 |  |
| Mycobacterium simiae | 2 |  |
| Mycobacterium szulgai | 31 |  |
| Mycobacterium tuberculosis | 3 | V |
| Mycobacterium ulcerans | 3 (*) |  |
| Mycobacterium xenopi | 2 |  |
| Mycoplasma caviae | 2 |  |
| Mycoplasma hominis | 2 |  |
| Mycoplasma pneumoniae | 2 |  |
| Neisseria gonorrhoeae | 2 |  |
| Neisseria meningitidis | 2 | V, |
| Nocardia asteroides | 2 |  |
| Nocardia brasiliensis | 2 |  |
| Nocardia farcinica | 2 |  |
| Nocardia nova | 2 |  |
| Nocardia otitidiscaviarum | 2 |  |
| Pasteurella multocida | 2 |  |
| Pasteurella spp. | 2 |  |
| Peptostreptococcus anaerobius | 2 |  |
| Plesiomonas shigelloides | 2 |  |
| Porphyromonas spp. | 2 |  |
| Prevotella spp. | 2 |  |
| Proteus mirabilis | 2 |  |
| Proteus penneri | 2 |  |
| Proteus vulgaris Providencia alcalifaciens | 2 2 |  |
| Providencia rettgeri | 2 |  |
| Providencia spp. | 2 |  |
| Pseudomonas aeruginosa | 2 |  |
| Pseudomonas mallei (Burkholderia mallei) | 3 |  |
| Pseudomonas pseudomallei (Burkholderia pseudomallei) | 3 |  |
| Rhodococcus equi | 2 |  |
| Rickettsia akari | 3(*) |  |
| Rickettsia canada | 3(*) |  |
| Rickettsia conorii | 3 |  |
| Rickettsia montana | 3 (*) |  |
| Rickettsia typhi (Rickettsia mooseri) | 3 |  |
| Rickettsia prowazekii | 3 |  |
| Rickettsia rickettsii | 3 |  |
| Rickettsia tsutsugamushi | 3 |  |
| Rickettsia spp. | 31 |  |
| Rochalimaea quintana (Bartonella Quintana) | 2 |  |
| Biological Agent | Classification | Notes |
| Bacteria |
| Salmonella arizonae | 2 |  |
| Salmonella enteridis | 2 |  |
| Salmonella typhimurium | 2 |  |
| Salmonella paratyphi A,B,C | 31 | V |
| Salmonella typhi | 3 (*) | V |
| Salmonella (other serovars) | 2 |  |
| Serpulina spp. | 2 |  |
| Shigella boydii | 2 |  |
| Shigella dysenteriae (Type 1) | 3 (*) | T |
| Shigella dysenteriae, other than Type 1 | 2 |  |
| Shigella flexneri | 2 |  |
| Shigella sonnei | 2 |  |
| Staphylococcus aureus | 2 | T1 |
| Streptobacillus moniliformis | 2 |  |
| Streptococcus pneumoniae | 2 |  |
| Streptococcus pyogenes | 2 |  |
| Streptococcus suis | 2 |  |
| Streptococcus spp. | 2 |  |
| Treponema carateum | 2 |  |
| Treponema pallidum | 2 |  |
| Treponema pertenue | 2 |  |
| Treponema spp. | 2 |  |
| Vibrio cholerae (including El Tor) | 2 | T1,V1 |
| Vibrio parahaemolyticus | 2 |  |
| Vibrio spp. | 2 |  |
| Yersinia enterocolitica | 2 |  |
| Yersinia pestis | 3 | V |
| Yersinia pseudotuberculosis | 2 |  |
| Yersinia spp. | 2 |  |

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Viruses |
| ADENOVIRIDAE | 2 |  |
| ARENAVIRIDAE |  |  |
| LCM-Lassa-virus complex (Old World arenaviruses): |  |
| Ippy1 | 2 |  |
| Lassa virus | 4 |  |
| Lymphocytic choriomeningitis virus (neurotropic strains) | 3 |  |
| Lymphocytic choriomeningitis virus (other strains) | 2 |  |
| Mobala1 | 3 |  |
| Mopeia | 31 |  |
| Tacaribe-virus complex (New World arenaviruses): |  |
| Amapari1 | 2 |  |
| Flexal | 3 |  |
| Guanarito | 4 |  |
| Junin | 4 |  |
| Latino1 | 2 |  |
| Machupo | 4 |  |
| Parana1 | 2 |  |
| Pichinde1 | 2 |  |
| Sabia | 4 |  |
| Tamiami1 | 2 |  |
| ASTROVIRIDAE | 2 |  |
| BORNAVIRIDAE |  |
| Borna disease virus1 | 3 |  |
| BUNYAVIRIDAE |  |
| Akabane1 | 3 |  |
| Bunyamwera | 2 |  |
| California encephalitis | 2 |  |
| Germiston | 31 |  |
| Oropouche | 3 |  |
| Hantaviruses: |  |
| Belgrade (Dobrava) | 3 |  |
| Hantaan (Korean haemorrhagic fever) | 3 |  |
| Prospect Hill | 2 |  |
| Puumala | 2 |  |
| Seoul | 3 |  |
| Sin Nombre (formerly Muerto Canyon) | 3 |  |

| Other Hantaviruses | 2 |  |
| --- | --- | --- |

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Viruses |
| Nairoviruses: |  |
| Bhanja | 31 |  |
| Crimean/Congo haemorrhagic fever | 4 |  |
| Hazara | 2 |  |
| Phleboviruses: |  |
| Rift Valley Fever | 3 | V |
| Sandfly fever | 2 |  |
| Toscana | 2 |  |
| Other Bunyaviridae known to be pathogenic | 2 |  |
| CALICIVIRIDAE |  |  |
| Hepatitis E | 3 (*) |  |
| Norwalk | 2 |  |
| Other Caliciviridae | 2 |  |
| CORONAVIRIDAE | 2 |  |
| Sudden Acute Respiratory Syndrome (SARS)1 | 3 |  |
| FILOVIRIDAE |  |
| Ebola | 4 |  |
| Marburg | 4 |  |
| FLAVIVIRIDAE |  |
| Dengue viruses types 1-4 | 3 |  |
| Hepatitis C | 3 (*) | D |
| Hepatitis G | 3 (*) | D |
| Israel turkey meningitis1 | 3 |  |
| Japanese B encephalitis | 3 | V |
| Australia encephalitis (Murray Valley encephalitis) | 3 |  |
| Rocio | 3 |  |
| Sal vieja1 | 3 |  |
| San Perlita1 | 3 |  |
| Spondweni1 | 3 |  |
| St Louis encephalitis | 3 |  |
| Wesselsbron | 3 (*) |  |
| West Nile fever | 3 |  |
| Yellow fever | 3 | V |
| Tick-borne virus group: |  |
| Absettarov | 3 | V |
| Central European tick-borne encephalitis | 3 (*) | V |
| Hanzalova | 3 | V1 |
| Hypr | 3 | V1 |
| Kumlinge | 3 |  |
| Kyasanur forest disease | 41 | V |

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Viruses |
| Louping ill | 3(*) | V1 |
| Negishi1 | 3 |  |
| Omsk (a) | 41 | V |
| Powassan | 3 |  |
| Russian spring summer encephalitis (TBE) (a) | 41 | V |
| Other flaviviruses known to be pathogenic | 2 |  |
| HEPNAVIRIDAE |  |
| Hepatitis B | 3 | V, D |
| Hepatitis D (delta) (b) | 3 | V, D |
| HERPESVIRIDAE |  |
| Cytomegalovirus (CMV) | 2 |  |
| Epstein-Barr virus (EBV) | 2 |  |
| Herpes simplex types 1 and 2 | 2 |  |
| Herpes virus varicella-zoster | 2 |  |
| Herpes virus simiae (B virus) | 41 |  |
| Human B-lymphotropic virus (HBLV-HHV6) | 2 |  |
| Human herpes virus type 6- HHV61 | 2 |  |
| Human herpes virus type 7- HHV7 | 2 |  |
| Human herpes virus type 8- HHV8 | 2 | D |
| ORTHOMYXOVIRIDAE |  |
| Influenza types A, B and C | 2 | V (c) |
| Tick-borne orthomyxoviridae: |  |  |
| Dhori and Thogoto | 2 |  |
| PAPOVAVIRIDAE |  |  |
| BK and JC viruses | 2 | D (d) |
| Human papillomaviruses (HPV) | 2 | D (d) |
| Simian virus 40 (SV40)1 | 2 |  |
| PARAMYXOVIRIDAE |  |  |
| Hendra (formerly equine morbillivirus)1 | 4 |  |
| Human metapneumonovirus1 | 2 |  |
| Measles | 2 | V |
| Mumps | 2 | V |
| Newcastle disease | 2 |  |
| Nipah 1 | 4 |  |
| Parainfluenza (Types 1 to 4) | 2 |  |
| Respiratory syncytial virus | 2 |  |
| PARVOVIRIDAE |  |
| Human parvovirus (B19) | 2 |  |

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Viruses |  |  |
| PICORNAVIRIDAE |  |
| Acute haemorrhagic conjunctivitis (AHC) virus | 2 |  |
| Coxsackieviruses | 2 |  |
| Echoviruses | 2 |  |
| Polioviruses | 2 | V |
| Rhinoviruses | 2 |  |
| Hepatoviruses: |  |  |
| Hepatitis A (human enterovirus type 72) | 2 | V |
| POXVIRIDAE |  |
| Buffalopox (e) | 2 |  |
| Cowpox | 2 |  |
| Elephant pox (f) | 2 |  |
| Milkers’ node | 2 |  |
| Molluscum contagiosum | 2 |  |
| Monkeypox | 3 | V |
| Orf | 2 |  |
| Rabbit pox (g) | 2 |  |
| Vaccina | 2 |  |
| Variola (major and minor) | 4 | V |
| Whitepox (Variola) | 4 | V |
| Yatapox (Tana and Yaba) | 2 |  |
| REOVIRIDAE |  |  |
| Coltivirus | 2 |  |
| Human rotaviruses | 2 |  |
| Orbiviruses | 2 |  |
| Reoviruses | 2 |  |
| RETROVIRIDAE |  |  |
| Human immunodeficiency viruses | 3 (*) | D |
| Human T-cell lymphotropic virus (HTLV) types 1 and 2 | 3 (*) | D |
| Simian immunodeficiency virus(SIV) (h) | 3 (*) |  |
| RHABDOVIRIDAE |  |  |
| Duvenhage1 | 3 | V |
| Piry1 | 3 |  |
| Rabies | 3(*) | V |
| Vesicular stomatitis | 2 |  |
| TOGAVIRIDAE |  |  |
| Alphaviruses: |  |  |
| Bebaru | 2 |  |
| Chikungunya | 3 (*) |  |
| Eastern equine encephalomyelitis | 3 | V |

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Viruses |  |  |
| Everglades | 3(*) |  |
| Getah1 | 3 |  |
| Mayaro | 3 |  |
| Middleburg1 | 3 |  |
| Mucambo | 3(*) |  |
| Ndumu | 3 |  |
| O’nyong-nyong | 2 |  |
| Ross river | 2 |  |
| Sagiyama1 | 3 |  |
| Semliki forest | 2 |  |
| Sindbis | 2 |  |
| Tonate | 3 (*) |  |
| Venezuelan equine encephalomyelitis | 3 | V |
| Western equine encephalomyelitis | 3 | V |
| Other known alphaviruses | 2 |  |
| Rubivirus (rubella) | 2 | V |
| TOROVIRIDAE | 2 |  |
| UNCLASSIFIED VIRUSES |  |  |
| Hepatitis viruses not yet identified | 3 (*) | D |
| Transfusion transmitted (TT) virus1 | 2 |  |
| UNCONVENTIONAL AGENTS ASSOCIATED WITH THE TRANSMISSIBLE SPONGIFORM ENCEPHALOPATHIES (TSEs): |  |  |
| Bovine spongiform encephalopathy (BSE) and other related animal TSEs (i) | 3 (*) | D (d) |
| Creutzfeldt-Jakob disease (CJD) | 3 (*) | D (d) |
| Variant Creutzfeldt-Jakob disease (vCJD) | 3 (*) | D (d) |
| Fatal familial insomnia (FFI)1 | 3 (*) | D (d) |
| Gerstmann-Straussler-Scheinker syndrome | 3 (*) | D (d) |
| Kuru | 3 (*) | D (d) |

- Tick-borne encephalitis

- Hepatitis D virus is pathogenic in workers only in the presence of simultaneous or secondary infection caused by hepatitis B virus. Vaccination against hepatitis B virus will therefore protect workers who are not affected by hepatitis B virus against hepatitis D virus (Delta)

- Only for types A and B

- Recommended for work involving direct contact with these agents

- Two viruses are identified: one buffalopox type and the other a variant of the Vaccinia virus.

- Variant of the cowpox virus

- Variant of Vaccinia

- At present there is no evidence of disease in humans caused by the other retroviruses of simian origin. As a precaution containment level 3 is recommended for work with them.

- There is no evidence in humans of infections caused by the agents responsible for other animal TSEs. Nevertheless, the containment measures for agents categorized in risk group 3

(*) are recommended as a precaution for laboratory work, except for laboratory work relating to an identified agent of scrapie where containment level 2 is sufficient.

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Parasites |
| Acanthamoeba castellani | 2 |  |
| Acanthamoeba spp1 | 2 |  |
| Aniskais simplex1 | 2 |  |
| Ancylostoma duodenale | 2 |  |
| Angiostrongylus cantonensis | 2 |  |
| Angiostrongylus costaricensis | 2 |  |
| Ascaris lumbricoides | 2 | A |
| Ascaris suum | 2 | A |
| Babesia divergens | 2 |  |
| Babesia microti | 2 |  |
| Balantidium coli | 2 |  |
| Blastocystis hominis1 | 2 |  |
| Brugia malayi | 2 |  |
| Brugia pahangi | 2 |  |
| Brugia timori1 | 2 |  |
| Capillaria philippinensis | 2 |  |
| Capillaria spp. | 2 |  |
| Clonorchis sinensis (Opisthorchis sinensis) | 2 |  |
| Clonorchis viverrini (Opisthorchis viverrini) | 2 |  |
| Contracaecum osculatum1 | 2 |  |
| Cryptosporidium parvum | 2 |  |
| Cryptosporidium spp. | 2 |  |
| Cyclospora cayetanensis | 2 |  |
| Cyclospora spp1 | 2 |  |
| Dicrocoelium dendeiticum1 | 2 |  |
| Dientamoeba fragilis1 | 2 |  |
| Dipetalonema streptocerca | 2 |  |
| Diphyllobothrium latum | 2 |  |
| Dracanculus medinensis | 2 |  |
| Echinococcus granulosus | 3 (*) |  |
| Echinococcus multilocularis | 3 (*) |  |
| Echinococcus vogeli | 3 (*) |  |
| Entamoeba histolytica | 2 |  |
| Enterobius vermicularis1 | 2 |  |
| Entercytozoon bieneusi1 | 2 |  |
| Fasciola gigantica | 2 |  |
| Fasicola hepatica | 2 |  |
| Fasciolopsis buski | 2 |  |
| Giardia lamblia (Giardia intestinalis) | 2 |  |
| Heterophyes spp1 | 2 |  |
| Hymenolepis diminuta | 2 |  |

| Hymenolepis nana | 2 |  |
| --- | --- | --- |
| Biological Agent | Classification | Notes |
| Parasites |
| Isopora belli1 | 2 |  |
| Leishmania aethiopica | 2 |  |
| Leishmania braziliensis | 3 (*) |  |
| Leishmania donovani | 3 (*) |  |
| Leishmania mexicana | 2 |  |
| Leishmania peruviana | 2 |  |
| Leishmania major | 2 |  |
| Leishmania tropica | 2 |  |
| Leishmania spp. | 2 |  |
| Loa loa | 2 |  |
| Mansonella ozzardi | 2 |  |
| Mansonella perstans | 2 |  |
| Mansonella streptocerca1 | 2 |  |
| Metagonimus spp1 | 2 |  |
| Naegleria fowleri | 3 |  |
| Necator americanus | 2 |  |
| Onchocerca volvulus | 2 |  |
| Opisthorchis felineus | 2 |  |
| Opisthorchis spp. | 2 |  |
| Paragonimus westermani | 2 |  |
| Paragonimus spp | 2 |  |
| Plasmodium falciparum | 3(*) |  |
| Plasmodium spp (human & simian) | 2 |  |
| Pseudoterranova decipiens1 | 2 |  |
| Sarcocystis suihominis | 2 |  |
| Schistosoma haematobium | 2 |  |
| Schistosoma intercalatum | 2 |  |
| Schistosoma japonicum | 2 |  |
| Schistosoma mansoni | 2 |  |
| Schistosoma mekongi | 2 |  |
| Schistosoma spp1 | 2 |  |
| Strongyloides stercocalis | 2 |  |
| Strongyloides spp. | 2 |  |
| Taenia saginata | 2 |  |
| Taenia solium | 3 (*) |  |
| Toxocara canis | 2 |  |
| Toxocara cati1 | 2 |  |
| Toxoplasma gondii | 2 |  |
| Trichinella spiralis | 2 |  |
| Trichinella nativa1 | 2 |  |
| Trichinella nelsoni1 | 2 |  |
| Trichinella pseudospiralis1 | 2 |  |
| Trichomonas vaginalis1 | 2 |  |
| Trichostrongylus orientalis1 | 2 |  |
| Trichostrongylus spp1 | 2 |  |

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Parasites |
| Trichuris trichiura | 2 |  |
| Trypanosoma brucei brucei | 2 |  |
| Trypanosoma brucei gambiense | 2 |  |
| Trypanosoma brucei rhodesiense | 3 (*) |  |
| Trypanosoma cruzi | 3 |  |
| Wuchereria bancrofti | 2 |  |

SCHEDULE 1-

Part 4: FUNGI

| Biological Agent | Classification | Notes |
| --- | --- | --- |
| Fungi |
| Aspergillus fumigatus | 2 | A |
| Blastomyces dermatitidis (Ajellomyces dermatitidis) | 3 |  |
| Candida albicans | 2 | A |
| Candida spp1 | 2 |  |
| Candida tropicalis | 2 |  |
| Cladophialophora bantinia (formerly: Xylophypha bantiana, Cladosphorium bantianum or trichoides) | 3 |  |
| Coccidioides immitis | 3 | A |
| Cryptococcus neoformans var. neoformans (Filobasidiella neoformansvar var neoformans) | 2 | A |
| Cryptococcus neoformans var. gattii (Filobasidiella bacillispora) | 2 | A |
| Emmonsia parva var. parva | 2 |  |
| Emmonsia parva var. crescens | 2 |  |
| Epidermophyton floccosum | 2 | A |
| Fonsecaea compacta | 2 |  |
| Fonsecaea pedrosoi | 2 |  |
| Histoplasma capsulatum var. capsulatum (Ajellomyces capsulatus) | 3 |  |
| Histoplasma capsulatum var. farcinimosum1 | 3 |  |
| Histoplasma capsulatum duboisii | 3 |  |
| Madurella grisea | 2 |  |
| Madurella mycetomatis | 2 |  |
| Microsporum spp. | 2 | A |
| Neotestudina rosatii | 2 |  |
| Paracoccidioides brasiliensis | 3 |  |
| Penicillium marneffei | 31 | A |
| Scedosporium apiospermum (Pseudallescheria boydii) | 2 |  |
| Scedosporium prolifirans (inflatum) | 2 |  |
| Sporothrix schenckii | 2 |  |
| Trichophyton rubrum | 2 |  |
| Trichophyton spp. | 2 |  |

SCHEDULE 2:

INDICATIONS CONCERNING CONTAINMENT MEASURES AND CONTAINMENT LEVELS

_____________________________________________________________________________

The measures contained in this Schedule shall be applied according to the nature of the activities, the assessment of risk to employees, and the nature of the biological agent concerned.

| CONTAINMENT MEASURES | CONTAINMENT LEVELS |
| --- | --- |
|  | 2 | 3 | 4 |
| 1. The workplace is to be separated from any other activities in the same building. | No | Recommended | Yes |
| 2. Input air and extract air to the workplace are to be filtered using HEPA or likewise | No | Yes, on extract air | Yes, on input and extract air |
| 3. Access is to be restricted to nominated workers only | Recommended | Yes | Yes, via airlock |
| 4. The workplace is to be sealable to permit disinfection | No | Recommended | Yes |
| 5. Specified disinfection procedures | Yes | Yes | Yes |
| 6. The workplace is to be maintained at an air pressure negative to atmosphere | No | Recommended | Yes |
| 7. Effective vector control e.g. rodents and insects | Recommended | Yes | Yes |
| 8. Surfaces impervious to water and easy to clean | Yes for bench | Yes for bench and floor | Yes for bench, walls, floor and ceiling. |
| 9. Surfaces resistant to acids, alkalis, solvents, disinfectants | Recommended | Yes | Yes |
| 10. Safe storage of a biological agent | Yes | Yes | Yes, secure storage |
| 11. An observation window, or alternative, is to be present, so that occupants can be seen | Recommended | Recommended | Yes |
| 12. A laboratory is to contain own equipment | No | Recommended | Yes |
| 13. Infected material including any animal is to be handled in a safety cabinet or isolator or other suitable containment | Where appropriate | Yes, where infection is by airborne route | Yes |
| 14. Incinerator for disposal of animal carcasses | Recommended | Yes (available) | Yes, on site |

SCHEDULE 3:

CONTAINMENT MEASURES AND CONTAINMENT LEVELS FOR INDUSTRIAL PROCESSES

________________________________________________________________________________

The measures contained in this Schedule shall be applied according to the nature of the activities, the assessment of risk to employees, and the nature of the biological agent concerned.

| CONTAINMENT MEASURES | CONTAINMENT LEVELS |
| --- | --- |
|  | 2 | 3 | 4 |
| 1. Viable organisms should be handled in a system which physically separates the process from the environment | Yes | Yes | Yes |
| 2. Exhaust gases from the closed system should be treated so as to: | Minimise release | Prevent release | Prevent release |
| 3. Sample collection, addition of materials to a closed system and transfer of viable organisms to another closed system, should be performed so as to: | Minimise release | Prevent release | Prevent release |
| 4. Bulk culture fluids should not be removed from the closed system unless the viable organisms have been: | Inactivated by validated means | Inactivated by validated chemical or physical means | Inactivated by validated chemical or physical means |
| 5. Seals should be designed so as to: | Minimise release | Prevent release | Prevent release |
| 6. Closed systems should be located within a controlled area | Optional | Optional | Yes and purpose built |
| (a) Biohazard signs should be posted | Optional | Yes | Yes |
| (b) Access should be restricted to nominated personnel only | Optional | Yes | Yes, via airlock |
| (c) Personnel should wear protective clothing | Yes, work clothing | Yes | A complete change |
| (d) Decontamination and washing facilities should be provided for personnel | Yes | Yes | Yes |
| (e) Personnel should shower before leaving the controlled area | No | Optional | Yes |
| (f) Effluent from sinks and showers should be collected and inactivated before release | No | Optional | Yes |
| (g) The controlled area should be adequately ventilated to minimise air contamination | Optional | Optional | Yes |
| (h) The controlled area should be maintained at an air pressure negative to atmosphere | No | Optional | Yes |
| (i) Input air and extract air to the controlled area should be HEPA filtered | No | Optional | Yes |
| (j) The controlled area should be designed to contain spillage of the entire contents of the closed system | No | Optional | Yes |
| (k) The controlled area should be sealable to permit fumigation | No | Optional | Yes |
| (l) Effluent treatment before final discharge | Inactivated by validated means | Inactivated by validated chemical or physical means | Inactivated by validated chemical or physical means |

SCHEDULE 4

Biological Agents: Dispensation of Minimum Containment Measures

Certain biological agents classified as group 3 which are indicated in Schedule 1 by an asterisk (*), may present a limited risk of infection for workers because they are not normally infectious by the airborne route.

Prior to dispensing with any of the minimum containment measures a full risk assessment must be completed in compliance with Regulation 8 of the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010.

|  | Diagnostic Work Measures | Intentional Work Measures |
| --- | --- | --- |
| Enteric bacteria: Escherchia coli, verocytotoxigenic strains (e.g. O157:H7 or O103) Salmonella typhi Salmonella paratyphi, Shigella dysenteriae (Type 1) | Points 1 to 4 | All intentional work must be carried out at full containment level 3 |
| Mycobacteria: Mycobacterium microti, Myocobacterium ulcerans | Points 5 & 6 | Points 5 & 6 |
| Parasites: Echinococcus granulosus, E. multilocularis, E. vogeli, Leishmania braziliensis, L. donovani, Plasmodium falciparum, Taenia solium, Trypanosoma brucei rhodesiense | Point 7 | Point 8 & 13 |
| Blood borne viruses: hepatitis B, hepatitis C, hepatitis D, hepatitis E, hepatitis G, human immunodeficiency viruses, human T-cell lymphotropic viruses, hepatitis viruses not yet identified, simian immunodeficiency virus | Points 14 to 15 | All intentional work must be carried out at full containment level 3 |
| Transmissible spongiform encephalopathies: the agents of Creutzfeldt-Jacob disease, variant Creutzfeldt-Jacob disease, fatal familial insomnia, kuru, Gerstmann-Sträussler-Scheinker syndrome, bovine spongiform encephalopathy (BSE) and other related animal TSEs. | Points 15 & 16 | Points 17 & 18 |

Containment Measures:

Group 3 enteric biological agents:

- If there is a strong likelihood or indication that Group3 are present the following measures normally required at containment level 3 may not be required:

  - the laboratory does not need to be maintained at an air pressure negative to atmosphere. In practice, negative pressure may be achieved if a microbiological safety cabinet is in use;

  - the laboratory does not need to be sealable to permit fumigation; and

  - the laboratory does not need to have exhaust air extracted using HEPA filtration, although in practice this may be the case if a microbiological safety cabinet is in use. Any work that could give rise to an aerosol of infectious material must, in any case, be carried out in a microbiological safety cabinet (or equivalent containment).

- The other procedural/management measures normally required at containment level 3 (above those required at containment level 2) must still be in place:

  - Separation of the work from other activities does not necessarily mean having a separate laboratory; the work could be carried out at the beginning or end of a work period or else on a separate bench. What is important is to separate the work from the routine diagnostic work that may also be carried out in the laboratory.

  - If an observation window (or alternative) to allow occupants to be seen is not available, then there will need to be some means of checking on employees.  Such measures will ensure that adequate supervision is in place when individuals are working alone.

- The need for a microbiological safety cabinet (at containment level 2 and containment level 3) will depend on whether the work could produce aerosols or droplets that have the potential to contaminate.

- Work that can be carried out under such conditions includes preliminary microbiological isolation from specimens and serological tests to identify presumptive isolates. Any further work involving the intentional culture or manipulation of these isolates or any other intentional work with Group 3 enteric agents must be carried out under full containment level 3 conditions. However, sub-culturing (but not incubating) a primary isolate for the purposes of sending on to a reference laboratory may be done under the conditions outlined above if there are no containment level 3 facilities available. Ideally, the original clinical specimen should be sent to avoid the need for further handling at containment level 2.

Group 3 Mycobacteria:

- All work (intentional and diagnostic) with M. microti should be carried out at full containment level 3, as it can cause severe pulmonary disease in immunocompetent humans and is classified as part of the M. tuberculosis complex. Subject to a risk assessment of the likelihood of shedding of the agent, infected animals could be housed at containment level 2, with procedures such as taking blood and post-mortem examination taking place in a microbiological safety cabinet or other suitable containment.

- Diagnostic work with clinical material that is known or suspected of containing M. ulcerans can be carried out at containment level 2, as can intentional work with the agent (subject to local assessment) although the additional precautions shown in the checklist at the end measure 7 should be used.

Group 3 parasites

- For diagnostic work where there is no intention to propagate or concentrate the agents, the work may be conducted at containment level 2. However, additional measures will be required to protect against sharps injury, other forms of skin penetrating injury and ingestion

Additional precautions include:

- cuts/lesions should be covered with waterproof dressings;

- gloves should be worn and discarded before handling items likely to be used by others, e.g. telephones;

- the use of sharps including glassware should be avoided as far as is reasonably practicable;

- work should be carried out in a designated area of the laboratory with sufficient space to work safely. The workspace should be kept clear of any unnecessary equipment;

- eye protection should be used if there is a risk of splashing.

Note: Controls such as the restriction of access to the working area and the use of a microbiological safety cabinet (if infectious aerosols are produced) should already be in place for routine containment level 2 work.

- When working with certain Group 3 parasites (Echinococcus granulosus, E.multilocularis, E. vogeli, Leishmania braziliensis, L. donovani, Plasmodium falciparum, Taenia solium, Trypanosoma brucei rhodesiense, Rickettsia akari, R. canada, R. montana), there may be circumstances where not all of the requirements of containment level 3 are necessary for the work to be carried out safely. However, this must be determined on the basis of an assessment of the risks associated with the work in question.  (See point 1 for measures that may not be required).

- The other procedural/management measures normally required at containment level 3 (above those required at containment level 2) must still be in place:

  - It is important to separate work with parasites from the routine work that may also be carried out in the laboratory so as to control potential exposure. Ideally, a separate room should be used. If this is not possible, the work can be carried out in a designated area of a larger laboratory but could be separated temporally, e.g. the work could be carried out at the beginning or end of a work period. If work with Group 3 parasites is required to take place at the same time as other work in the laboratory, you need to ensure that the designated area is away from the main thoroughfare, i.e. not in the middle of a busy diagnostic bench. The use of a spillage tray will help denote the specified work area as well as contain any spills.

  - If an observation window (or alternative) to allow occupants to be seen is not available, then there will need to be some means of checking on employees, Such measures will ensure that adequate supervision is in place when individuals are working alone.

- The need for a microbiological safety cabinet (at containment level 2 and containment level 3) will depend on whether the work could produce aerosols or droplets that have the potential to contaminate skin or mucous membranes. The need for additional containment should be informed by the risk assessment, and should include a consideration of:

  - whether the work involves the infectious and/or transmissive stage of the parasite;

  - whether the work involves tissue culture;

  - whether the work involves passaging the parasite in an intermediate host (vertebrate and/or invertebrate);

  - potential means of transmission of the parasite from host to host (including humans).

Where work involves tissue culture of the parasite, the most likely means of accidental transmission to laboratory workers is via percutaneous injury. Therefore, glassware and sharps should be excluded as far as is practicable.

- Where work requires an intermediate animal host to maintain the parasite, infected and non-infected hosts should be stored separately, ideally in separate rooms. Consideration should be given to when and how the animal is likely to shed infectious particles, e.g. in faeces, blood, saliva or other secretions/excretions, and precautions taken to control the risk of transmission by these routes.

- The need and type of PPE will depend on the likely route of transmission of the individual parasite and stage in its life cycle. Lesions on exposed skin should be covered with waterproof dressings and a high standard of personal hygiene should be in place for all work with parasites. For some work, disposable waterproof gloves should be worn as many laboratory-acquired parasite infections have occurred where no percutaneous injury had been noted and where there were no obvious visible signs of pre-existing skin lesion or abrasion. For all work there must be a safe means of effective disinfection of surfaces, and treatment and disposal of clinical waste.

- For invertebrate animal hosts, additional consideration should be given to whether they fly, jump, crawl, live in water or are amphibious, and should be reflected in the containment measures used.
Where invertebrates are known to be infected or may be infected with biological agents, animal room containment must be applied (See Laboratory Biosafety Manual, World Health Organisation).  A risk assessment is necessary, based on the intended nature of the work.

Group 3 blood-borne viruses

- Routine diagnostic work with specimens that contain or may contain bloodborne viruses can be carried out at containment level 2.  However, additional measures will be required to control the risk of sharps injuries and contamination of the skin and mucous membranes (see checklist at point 7).  The risk assessment should reflect whether the work procedures could otherwise increase the risk of exposure by virtue of the nature of the work.

- Intentional work with these viruses must be carried out at full containment level 3 

Hazard Group 3 TSE agents

- As with intentional work with this agent, not all the containment measures normally required by containment level 3 may be necessary. As before, the main containment measures that might not be required are the need for a sealable laboratory and the requirement for an inward airflow. Brain and spinal cord samples present the greatest risk of exposure to the TSE agent as compared to other diagnostic specimens and although certain containment measures may be dispensed with, additional protective measures will need to be taken as follows:

  - care should be taken to avoid accidental inoculation or injury, e.g. when preparing samples for microscopy or culture;

  - disposable equipment should be used wherever practicable, e.g. cell counting chambers etc;

  - any items contaminated by the specimens should be either destroyed by incineration, autoclaved or disinfected to the required standard;

  - any residual contamination of automated equipment should be minimised and dealt with before servicing;

  - delicate equipment such as microscopes should be cleaned and maintained regularly to avoid accumulation of potentially contaminated debris.

- ‘Low’ risk specimens such as cerebrospinal fluid, blood, urine and faeces can be handled in accordance with the guidance in point2.

- TSE agents such as BSE and CJD are classified as Group 3 biological agents.  However, because of the unique properties of the infectious agents, not all the containment measures normally required at containment level 3 may be needed. Any decision to change the containment measures must be on the basis of a risk assessment.

- The main physical containment level 3 measure that might not be required is the need to use a laboratory that is sealable to allow fumigation since the TSE agents are not affected by normal fumigants

# Footnotes

Recommendation of UK Advisory Committee on Dangerous Pathogens.

Recommendations of the UK Advisory Committee  on Dangerous Pathogens