26 January 2010

# Draft

# Statutory instruments

# S.I. No. ??? of 2010

# Safety, Health and Welfare at Work (Biological Agents) Regulations 2010

S.I. No. xx of 2010

Safety, Health and Welfare at Work (Biological Agents) Regulations 2010

ARRANGEMENT OF REGULATIONS

PART 1

PRELIMINARY AND GENERAL

1. Citation and Commencement.

2. Interpretation.

3. Revocations.

4. Application.

5. Prohibitions.

PART 2

DUTIES OF EMPLOYERS AND EMPLOYEES

6. Duties of Employers.

7. Duties of Employees.

PART 3

PROTECTIVE AND PREVENTIVE MEASURES

8. Risk Assessment.

9. Information, Training and Consultation of Employees.

10. Hygiene.

11. Individual Protection.

12. Vaccination.

13. Health Surveillance.

14. Emergency Plans.

PART 4

NOTIFICATION AND RECORD KEEPING

15. Information and Notification to be provided to the Authority.

16. Occupational Exposure Registers.

PART 5

SPECIAL MEASURES

17. Health Care and Veterinary Care.

18. Laboratories, Industrial Processes and Animal Rooms.

SCHEDULES

SCHEDULE 1

Indicative list of activities.

SCHEDULE 2

Prevention and Reduction Measures.

SCHEDULE 3

Biohazard Sign.

SCHEDULE 4

Recommendations on Vaccination Practice.

SCHEDULE 5

Recommendation for the Health Surveillance of Employees.

S.I. No.   xx of 2010.

SAFETY, HEALTH AND WELFARE AT WORK (BIOLOGICAL AGENTS) REGULATIONS, 2010

I, ………….., Minister of State at the Department of Enterprise, Trade and Employment, in exercise of the powers conferred on me by section 58 of the Safety Health and Welfare at Work Act 2005 (No.10 of 2005), and the  Enterprise, Trade and Employment (Delegation of Ministerial Functions (No. 2) Order 2009 (S.I. No. 249 of 2009) and for the purpose of giving effect to Directive 2000/54/EC of the European Parliament and of the Council of 18 September 2000 on the protection of workers from risks related to exposure to biological agents at work and after consultation with the Health and Safety Authority, hereby make the following regulations -

PART 1

PRELIMINARY AND GENERAL

Citation and Commencement.

1. (1) These Regulations may be cited as the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010.

(2) These Regulations shall come into operation on ………..2010.

Interpretation.

2. In these Regulations:—

“Act" means the Safety, Health and Welfare at Work Act 2005 (No. 10 of 2005);

"biological agent" means micro-organisms, including those which have been genetically modified, cell cultures and human endoparasites, which may be able to provoke any infection, allergy or toxicity, classified into four risk groups according to their level of risk of infection, as follows —

(a) a "group 1 biological agent", that is one that is unlikely to cause human disease,

(b) a "group 2 biological agent", that is one which can cause human disease and might be a hazard to employees, although it is unlikely to spread to the community and in respect of which there is usually effective prophylaxis or treatment available,

(c) a "group 3 biological agent", that is one which can cause severe human disease and presents a serious hazard to employees and which may present a risk of spreading to the community, though there is usually effective prophylaxis or treatment available,

(d) a "group 4 biological agent", that is one which causes severe human disease and is a serious hazard to employees and which may present a high risk of spreading to the community and in respect of which there is usually no effective prophylaxis or treatment available;

"cell culture" means the in-vitro growth of cells derived from multicellular organisms;

"containment level" means the containment level specified in a relevant code of practice;

"micro-organism" means a microbiological entity, cellular or non-cellular, capable of replication or of transferring genetic material;

“Principal Regulations” means the Safety, Health and Welfare at Work (General Application) Regulations 2007 (S.I. No. 299 of 2007) as amended by the Safety, Health and Welfare at Work (General Application) (Amendment) Regulations 2007 (S.I. No. 732 of 2007);

“relevant code of practice” means a code of practice, relating to these Regulations, published under section 60 of the Act;

"responsible medical practitioner" means a registered medical practitioner employed, or otherwise engaged, by an employer to be responsible for health surveillance of employees under these Regulations.

Revocations.

3.  The Safety, Health and Welfare at Work (Biological Agents) Regulations 1994 (S.I. No. 146 of 1994) and the Safety, Health and Welfare at Work (Biological Agents) (Amendment) Regulations 1998 (S.I. No. 248 of 1998) are revoked.

Application.

4. (1) Subject to paragraph (2), these Regulations apply to all places of work where potential deliberate or incidental occupational exposure to biological agents may occur.

(2) If the results of a risk assessment under Regulation 8 show that the exposure or potential exposure (or both) is to a group 1 biological agent, with no identifiable health risks to employees, Regulations 6(c) to (f) and (i), 7, 9, 10, 11, 12, 13, 15(b) to (f)(iii) and (g), 16(a) to (f), 17 and 18(1) shall not apply, but for work with group 1 biological agents, including attenuated vaccines, the principles of good occupational safety and hygiene shall be observed.

Prohibitions.

5. The Authority, on receipt of notification(s) referred to in Regulation 15(f)(iv), may prohibit the specific use of the biological agent(s) or require the application of additional controls to safeguard the safety, health and welfare of employees from exposure to the notified agent(s).

PART 2

DUTIES OF EMPLOYERS AND EMPLOYEES

Duties of Employers.

6. Where employees are likely to be exposed to biological agents as a result of their work, an employer shall —

(a) apply these Regulations,

(b) complete a risk assessment as required under Regulation 8 and take into consideration the special measures specified in Part 5, Regulations 17 and 18,

(c) avoid the use of a harmful biological agent, if the nature of the activity so permits, by replacing it with a biological agent which, under its conditions of use, eliminates or reduces the risk to the health of employees,

(d) prevent the exposure of employees to a biological agent at a place of work where the results of the risk assessment under Regulation 8 reveal a risk to employees' health and safety,

(e) ensure that the level of exposure of employees is reduced to as low a level as necessary in order to protect adequately the health and safety of the employees concerned, where it is not technically possible to prevent exposure,

(f) apply control measures similar to those specified in Schedule 2 where the results of the risk assessment under Regulation 8 reveal that it is not technically possible to prevent exposure,

(g) ensure that the principles of good occupational safety and hygiene are applied, where the results of the risk assessment under Regulation 8 show that the exposure or potential exposure (or both) is to a group 1 biological agent, including live attenuated vaccines, with no identifiable health risk to employees,

(h) where a risk assessment under Regulation 8(f) shows that the activity may result in workplace exposure to a biological agent, as in the course of the activities for which an indicative list is given in Schedule 1, comply with the provisions of these Regulations, unless the results of such assessment show such compliance to be unnecessary,

(i) provide information and training and consult with employees as required under Regulation 9,

(j) without prejudice to Chapter 1 of Part 2 of the Principal Regulations, make available facilities and put in place procedures as specified in Regulation 10,

(k) without prejudice to Chapter 3 of Part 2 of  the Principal Regulations, provide for the supply of work-clothing and personal protective equipment as required under Regulation 11,

(l) make effective vaccines available as required under Regulation 12,

(m) without prejudice to the requirements of sections 8 and 11 of the Act, establish and maintain safety precautions, emergency procedures and plans as appropriate and required under Regulation 14,

(n) provide information to the Authority as specified in Regulation 15,

(o) maintain a list of employees who may be exposed to a group 3 or group 4 biological agent as required under Regulation 16, and

(p) without prejudice to section 22 of the Act,provide relevant health surveillance prior to exposure, at regular intervals and in accordance with the requirements of Regulation 13.

Duties of Employees.

7. Without prejudice to the provisions of Chapter 2, sections 13, 14 and 15 of the Act, an employee shall report immediately to his or her employer or supervisor any accident or incident, of which he or she becomes aware, involving the exposure to, or release of, a biological agent likely to involve a risk to the health or safety of employees.

PART 3

PROTECTIVE AND PREVENTIVE MEASURES

Risk Assessment.

8. (1) Without prejudice to the provisions of section 19 of the Act, an employer shall —

(a) assess any risk to the health and safety of employees resulting from any activity at that employer's place of work likely to involve a risk of exposure of any employee to a biological agent and for that purpose to determine the nature, degree and duration of any employee's exposure to a biological agent and lay down the measures to be taken to ensure the safety and health of such employees,

(b) keep the risk assessment referred to in paragraph (a) in written form as required by section 19 of the Act,

(c) when carrying out the risk assessment required by paragraph (a), assess the risk, in the case of activities involving exposure to several groups of a biological agent, on the basis of the danger presented by all hazardous biological agents present,

(d) renew the risk assessment required by paragraph (a) regularly and, in any event, whenever there is a change in conditions at the place of work which may affect any employee's exposure to a biological agent,

(e) conduct the risk assessment referred to in paragraph (a) on the basis of all available information, including—

(i) the classification of a biological agent which is or may be a hazard to human health as specified in a relevant code of practice,

(ii) information on diseases which may be contracted as a result of the work of the employees,

(iii) potential allergenic or toxigenic effects as a result of the work of the employees,

(iv) knowledge of a disease from which an employee is found to be suffering and which has a direct connection with his or her work, and

(v) any recommendations which may be made by the Authority indicating that a particular biological agent should be controlled in order to protect employees' health where employees are or may be exposed to such a biological agent as a result of their work, and

(f) where the results of the risk assessment show that the activity does not involve a deliberate intention to work with or use a biological agent but may result in workplace exposure to a biological agent, as in the course of the activities for which an indicative list is given in Schedule 1, comply with the provisions of these Regulations, unless the results of such assessment show such compliance to be unnecessary.

(2)(a) Certain biological agents classified as group 3 which may be specified in a relevant code of practice may present a limited risk of infection for employees because they are not normally infectious by the airborne route. Subject to subparagraph (b), an employer may, for biological agents so specified, having completed an appropriate risk assessment and taking account of the nature of specific activities in question and of the quantity of the agent involved, dispense with some of the group 3 containment measures.

(b) The Authority may, in a relevant code of practice, publish guidelines specifying the minimum containment measures which shall be applied in cases to which subparagraph (a) applies.

Information, Training and Consultation of Employees.

9. (1) An employer, in the case of any activity in relation to which there is a risk to the health or safety of employees due to work with a biological agent, without prejudice to the provisions of sections 9 and 10 of the Act, shall take appropriate steps to ensure that employees or their safety representative (or both) receive sufficient and appropriate training and information concerning—

(a) potential risks to health,

(b) precautions to be taken to prevent exposure,

(c) hygiene requirements,

(d) wearing and use of personal protective equipment, and

(e) steps to be taken by employees in the case of incidents and to prevent incidents.

(2), Prior to the commencement of work involving contact with a biological agent, an employer shall give the training referred to in paragraph (1) and ensure that such training is adapted to take account of new or changed risks and, if necessary, is repeated periodically.

(3) An employer shall provide written instructions at the place of work, and, if appropriate, display notices which shall, at a minimum, include the procedure to be followed in the case of—

(a) a serious accident or incident involving the handling of a biological agent, or

(b) the handling of a group 4 biological agent.

(4) Without prejudice to sections 8 and 11 of the Act, an employer shall ensure that his or her employees or their safety representative (or both)—

(a) are informed, immediately, of any accident or incident which may have resulted in the release of a biological agent and which could cause severe human infection or illness (or both),

(b) are informed, as quickly as possible, when a serious accident or incident occurs of the causes thereof and of the measures taken to rectify the situation, and

(c) without prejudice to the provisions of sections 25 and 26 of the Act, consult his or her employees or their safety representative (or both) in relation to the matters referred to in paragraph (1)(a) to (e) and in the Schedules.

(5) An employer shall provide information in accordance with Regulation 9(1) to any employer of other employees or to any self-employed person who may be affected by exposure to a biological agent arising from the conduct of his or her undertaking,

Hygiene.

10. Without prejudice to Chapter 1 of Part 2 of the Principal Regulations, and in the case of any activity in relation to which there is a risk to the health or safety of employees caused by working with a biological agent, an employer shall take appropriate measures to ensure that—

(a) employees do not eat or drink in any place of work where there is a risk of contamination by a biological agent,

(b) employees are provided with suitable washing and toilet facilities, which may include eye washes and skin antiseptics, and

(c) procedures are specified for taking, handling and processing samples of human or animal origin.

Individual Protection.

11. (1) Without prejudice to Chapter 3 of Part 2 of the Principal Regulations, in the case of any activity in relation to which there is a risk to the health or safety of employees caused by working with a biological agent, an employer shall provide his or her employees with suitable work clothes and personal protective equipment.

(2) An employer shall ensure that –

(a) working clothes and personal protective equipment, referred to in  paragraph (1), which may be contaminated by a biological agent, are removed on leaving the working areas and, before taking the measures referred to in subparagraph  (b), are kept separately from other clothing, and

(b) the working clothes and personal protective equipment referred to in subparagraph (a) are decontaminated and cleaned or, if necessary, destroyed.

Vaccination.

12. In the case where there is a risk to the health or safety of employees caused by working with a biological agent, an employer shall —

(a) apply any special protective measures to employees identified as requiring these by the risk assessment under Regulation 8,

(b) make effective vaccines available, when necessary, to those employees who are not already immune to the biological agent to which they are exposed or are likely to be exposed, and

(c) take account of the recommendations set out in Schedule 4 when making vaccines available to employees.

Health Surveillance.

13. (1) In the case of any activity in relation to which there is a risk to the health or safety of employees due to work with a biological agent, an employer shall —

(a) make provision for relevant health surveillance as provided for in section 22 of the Act, to be made available, under the responsibility of a responsible medical practitioner where appropriate, for those employees for whom the results of a risk assessment under Regulation 8 reveals a risk to their health or safety,

(b) ensure that the health surveillance required under subparagraph (a), where appropriate, includes health surveillance made available prior to exposure and at regular intervals thereafter and that these arrangements are such that it is directly possible to implement individual and occupational hygiene measures,

(c) ensure that, where an employee is found to be suffering from an infection or illness (or both) which is suspected to be the result of exposure to a biological agent, health surveillance is made available to other employees, who have been similarly exposed, whenever requested by a responsible medical practitioner or by the Authority,

(d) ensure that where the health surveillance required under subparagraph (c) is undertaken, a further reassessment of the risk of exposure is made in accordance with

Regulation 8(a),

(e) ensure that, where an employee receives health surveillance under this Regulation, an individual record of such matters is kept for 10 years,

(f) in cases refered to in Regulation 16(c), keep an individual medical record for an appropriate longer time, not exceeding 40 years, following the last known exposure, and

(g) ensure that any employee who so requests shall receive a review of the results of any health surveillance that he or she undergoes.

(2) An employer shall ensure that employees are provided with information and advice regarding any health surveillance which they may undergo following the end of exposure.

(3) A responsible medical practitioner in respect of paragraph (4)(a) and an employer in respect of paragraph (1)(g) shall give access to an employee to the results of his or her own health surveillance.

(4) A responsible medical practitioner under whose responsibility an employee receives health surveillance under this Regulation when carrying out relevant health surveillance required by this Regulation shall—

(a) keep an individual confidential medical record and retain that record for the appropriate period, taking account of the periods referred to in Regulation 16(b) and (c),

(b) take account of the vaccine recommendations in Schedule 4 and the recommendatiojns for the health surveillance of employees in Schedule 5,

(c) propose any protective or preventive measures to be taken in respect of any individual employee,

(d) allow access to the individual confidential medical record to an occupational medical adviser who is designated under section 63 of the Act, and

(e) make available to an occupational medical adviser who is designated under section 63 of the Act, the individual confidential medical record in cases where the undertaking or establishment (or both) ceases activity.

(5) An employer who becomes aware of, or a registered medical practitioner (including a responsible medical practitioner), who diagnoses a case of disease or death resulting from occupational exposure to a biological agent, shall notify such occurrence to the Authority.

Emergency Plans.

14 Without prejudice to the requirements of sections 8 and 11 of the Act, in the case of any activity in relation to which there is a risk to the health or safety of employees due to work with a biological agent, an employer shall institute and maintain safety precautions, emergency procedures and plans appropriate to the hazards in the workplace.

PART 4

NOTIFICATION AND RECORD KEEPING

Information and Notification to be provided to the Authority.

15. An employer shall —

(a) provide the Authority, when requested, with the information used for making any risk assessment carried out under Regulation 8 and with the findings of any such assessment,

(b) where the risk assessment carried out under Regulation 8 reveals a risk to any employee's health or safety, provide the Authority, when requested, with appropriate information in writing relating to—

(i) the results of the risk assessment,

(ii) the activities in which employees have been exposed or may have been exposed to a biological agent,

(iii) the number of employees exposed,

(iv) the name and competencies of the person responsible for safety and health at work,

(v) the protective and preventive measures taken, including working procedures and methods, and

(vi) an emergency plan for the protection of employees from exposure to a biological agent which might result from a loss of physical containment,

(c) provide employees or their representatives (or both), at their request, with the information referred to in paragraph (b).

(d) notify the Authority of any accident or incident which may have resulted in the release of a biological agent and which could cause severe human infection or illness (or both),

(e) deliver the list required by Regulation 16 to the Authority in cases where he or she ceases to be an employer,

(f) notify the Authority—

(i) thirty days prior to the commencement of work involving the use for the first time of group 2, 3 or 4 biological agents,

(ii) subject to subparagraph (i), thirty days prior to the commencement of work involving the use for the first time of each subsequent group 4 biological agent and any subsequent new group 3 biological agent, where the employer provisionally classifies that biological agent,

(iii) for the first time only, as required by subparagraph (i), in the case of laboratories providing a purely diagnostic service in relation to a group 4 biological agent,

(iv) subject to Regulation 8(2)(a), and thirty days prior to commencement of work, of his or her intention to dispense with some group 3 containment measures for those agents specified in a relevant code of practice which may present a limited risk of infection for employees because they are not normally infectious by the airborne route, and

(v) in any case where there are substantial changes of importance to safety and health at work to processes or procedures which render the notifications required by subparagraph (i), (ii) or (iii) out of date,

(g) include in the notification required by paragraph (f) —

(i) the name and address of the undertaking or the establishment (or both),

(ii) the name and competencies of the person responsible for safety and health at work,

(iii) the results of the risk assessment under Regulation 8,

(iv) the species of the biological agent, and

(v) the protective and preventive measures that are envisaged, and

(h) make available to the Authority the list referred to in Regulation 16 in cases where the undertaking or the establishment (or both) ceases activity.

Occupational Exposure Registers.

16. In the case of any activity in relation to which there is a risk to the health or safety of employees due to work with a biological agent, an employer shall —

(a) keep a list of the employees who may be exposed to a group 3 or a group 4 biological agent (or both), indicating the type of work done by each employee, and, whenever possible, the biological agent to which they have been exposed, as well as records of exposures, accidents and incidents, as appropriate,

(b) keep the list referred to in paragraph (a) for at least ten years following the end of exposure,

(c) keep the list referred to in paragraph (a) for a longer period not exceeding forty years following the last known exposure, depending on the likely duration of risk to the health and safety of employees determined during the risk assessment referred to in Regulation 8, following the last known exposure in the case of those exposures which may result in infections—

(i) with a biological agent known to be capable of establishing persistent or latent infections,

(ii) that in the light of present knowledge are undiagnosable until illness later develops,

(iii) that have particularly long incubation periods before illness develops,

(iv) that result in an illness which recrudesces at times over a long period despite treatment, and

(v) that result in illnesses that may have serious long-term sequelae,

(d) ensure that each employee has access to the information on the list which relates to him or her, personally,

(e) ensure that the employees or their safety representative (or both) have access to collective information which does not identify information relating to any individual employee,

(f) ensure that the list is made available, on request, to the responsible medical practitioner or the Authority or person designated under section 63 of the Act for inspection, and

PART 5

SPECIAL MEASURES

Health care and veterinary care.

17. When carrying out a risk assessment under Regulation 8, an employer shall—

(a) pay particular attention to the risks posed by the nature of the work,

(b) pay particular attention to uncertainties about the presence of a biological agent in human patients or animals and the materials and specimens taken from them,

(c) pay particular attention to the hazard represented by a biological agent known or suspected to be present in human patients or animals and the materials and specimens taken from them,

(d) protect the health and safety of employees at a place of work which is either a health care facility or veterinary care facility including, in particular, by—

(i) specifying appropriate decontamination and disinfection procedures,

(ii) implementing procedures enabling contaminated waste to be handled and disposed of without risk, and

(e) apply appropriate containment measures in order to minimise the risk of infection at a place of work which is an isolation facility where there are either human patients or animals who are or who are suspected of being infected with a group 3 or a group 4 biological agent.

Laboratories, Industrial Processes and Animal Rooms.

18 (1) An employer at a place of work which is a laboratory, including diagnostic laboratories and in rooms for laboratory animals which have been deliberately infected with a group 2, 3 or 4 biological agent or which are, or are suspected to be, carriers of such agents, shall —

(a) determine containment measures, in order to minimise infection, in laboratories carrying out work which involves the handling of a group 2, 3 or 4 biological agent for research, development, teaching or diagnostic purposes,

(b) carry out activities involving the handling of a biological agent, having fixed the physical containment level required for that biological agent, following the risk assessment required by Regulation 8, only in—

(i) working areas corresponding to at least the containment level specified for containment level 2 in a relevant code of practice for a group 2 biological agent,

(ii) working areas corresponding to at least the containment level specified for containment level 3 in a relevant code of practice for a group 3 biological agent, and

(iii) working areas corresponding to at least the containment level specified for containment level 4 in a relevant code of practicefor a group 4 biological agent, and

(c) adopt—

(i) at least containment measures specified for containment level 2 in a relevant code of practice in laboratories handling materials in respect of which their exists uncertainties about the presence of a biological agent which may cause human disease, but which do not have as their aim working with a biological agent including cultivating or concentrating a biological agent, and

(ii) containment measures specified for containment level 3 or 4 in a relevant code of practice, as and when appropriate, where it is known or it is suspected that it is necessary.

(2) At a place of work where industrial processes using a group 2, 3 or 4 biological agent are carried out, an employer shall —

(a) apply the containment measures and containment levels referred to in paragraph (1)(b),

(b) apply whatever measures are considered necessary in accordance with the risk assessment required under Regulation 8 linked to the industrial use of a group 2, 3 or 4 biological agent,

(c) apply at least the containment measures specified in a relevant code of practice when carrying out any activity covered by this Regulation where it has not been possible to carry out a conclusive assessment of a biological agent but where it appears that the use envisaged might involve a serious health risk for employees, and

(d) where appropriate, apply combined containment measures and containment levels specified in a relevant code of practice  on the basis of the risk assessment required by Regulation 8.

SCHEDULE 1

Regulations 6(h) and 8(1)(f)

Indicative List of Activities

1. Work in food production plants.

2. Work in agriculture.

3. Work in biotechnology, including the production of pharmaceutical products

4. Work activities where there is contact with animals and products of animal origin (or both).

5. Work in health care, including isolation and post mortem units, funeral and cremation undertakings

6. Work in clinical, veterinary and diagnostic laboratories

7. Work in refuse disposal plants.

8. Work in sewage purification installations.

SCHEDULE 2

Regulation 6(f)

Prevention and Reduction Measures

Measures to be taken where it is not technically possible to prevent exposure

1. The keeping as low as possible of the number of employees exposed or likely to be exposed to a biological agent.

2. The design of work processes and engineering control measures so as to avoid or minimise the release of a biological agent into the place of work.

3. The use of both collective protection measures and individual protection measures where exposure cannot be avoided by other means.

4. The use of hygiene measures compatible with the aim of preventing or reducing the accidental transfer or release of a biological agent from the workplace.

5. The use of the biohazard sign depicted in Schedule 3, and other relevant warning signs.

6. The drawing up of plans to deal with accidents involving a biological agent.

7. The testing, where necessary and technically possible, for the presence, outside the primary physical confinement, of a biological agent used at work.

8. The use of means for the safe collection, storage and disposal of waste by employees, including the use of secure and identifiable containers, after suitable treatment where appropriate.

9. The making of arrangements for the safe handling and transport of a biological agent within the workplace.

SCHEDULE 3

Schedule 2(5)

Biohazard sign

SCHEDULE 4

Regulation 12

RECOMMENDATIONS ON VACCINATION PRACTICE

1. If the risk assessment referred to in Regulation 8 reveals that there is a risk to the health and safety of employees due to their exposure to a biological agent for which effective vaccines exist, the employer shall offer vaccination to his or her employees.

2. Vaccination shall be carried out in accordance with any guideline issued or approved by the Authority and employees should be informed of the benefits and drawbacks of both vaccination and non-vaccination.

3. Vaccination shall be offered free of charge to employees.

4. A vaccination certificate may be drawn up which shall be made available to the employee concerned and, on request, to the Authority.

SCHEDULE 5

Regulation 13(4)(b)

RECOMMENDATIONS FOR THE HEALTH SURVEILLANCE OF EMPLOYEES

1. Where appropriate, the responsible medical practitioner should be familiar with the exposure conditions or circumstances of each employee.

2. Health surveillance of employees must be carried out in accordance with the principles and practices of occupational medicine; it must include at least the following measures:

(a) keeping records of an employee's medical and occupational history,

(b) a personalised assessment of the employee's state of health,

(c) where appropriate, biological monitoring as well as detection of early and reversible effects.

Further tests may be decided upon for each employee, when he or she is the subject of health surveillance, in the light of the most recent knowledge available to occupational medicine.

GIVEN under my hand

2010

Minister of State at the Department of Enterprise, Trade and Employment

EXPLANATORY NOTE.

These Regulations transpose Directive 2000/54/EC of the European Parliament and of the Council of 18 September 2000 on the protection of workers from risks related to exposure to biological agents at work, which itself is a consolidated Directive, which repealed and replaced Council Directive 90/679/EEC of 26 November 1990 as amended by Council Directive 93/88/EEC of 12 October 1993, Commission Directive 95/30/EC of 30 June 1995, Commission Directive 97/59/EC of 7 October 1997 and Commission Directive 97/65/EC of 26 November 1997.

Those Directives were originally transposed in Ireland through the Safety, Health and Welfare at Work (Biological Agents) Regulations 1994 (S.I. No. 146 of 1994) and the Safety, Health and Welfare at Work (Biological Agents) (Amendment) Regulations 1998 (S.I. No. 248 of 1998), which are repealed and replaced by these Regulations.

The Regulations define biological agents. Biological agents thus include bacteria, viruses, parasites and fungi.

The Regulations refer to a relevant code of practice, to be published by the Health and Safety Authority in accordance with section 60 of the Safety, Health and Welfare at Work Act 2005 (No. 10 of 2005) which specifies the list and classification of biological agents which come under the remit of Directive 2000/54/EC and these Regulations. That code of practice will also include indications concerning containment measures and containment levels.

Employers must identify the biological agent to which employees are, or may be, exposed and they must assess the risk, making use of the classification referred to in Regulation 2 and any relevant code of practice and apply the Regulations as appropriate.

Specific Regulations set out action to be taken in veterinary and health care facilities and in industrial processes.

# Footnotes

O.J. No. L 262,  17.10.2000,  p.21