Health and Safety Authority

DRAFT

GUIDELINES TO THE SAFETY, HEALTH and WELFARE (BIOLOGICAL AGENTS) REGULATIONS 2010

26th January 2010 (V1.0)

Contents

1.0	Introduction									  3

2.0	Biological Agents								  5

3.0	Legal Requirements								  8

4.0	Preventative and Protective Measures					14

4.1	Risk Assessment							14

4.2	Information and Training						18

4.3	Hygiene measures							20

4.4		Individual Protection measures					21

4.4.1	Personal protective equipment – General			21

4.4.2	Gloves								21

4.4.3	Protective clothing						22

4.4.4	Respiratory Protection					23

4.4.5	Face eye protection						24

4.5	Containment Levels							24

4.5.1	Containment							24

4.5.2	Biological Safety Cabinets					30

4.5.3	 Autoclaves							31

4.5.4	 Centrifuges							31

4.5.5	Disinfection and Sanitisation					32

4.6	Special Measures							32

4.6.1	Veterinary Care						32

4.6.2	Laboratories, Industrial processes and Animal Rooms	33

4.7	Vaccination 								33

4.8	Health Surveillance							34

4.9	Emergency Plans 							36

5.0	Biological Agents in Healthcare Sector					39

6.0	Waste Management								42

7.0	Notification and Information to the Authority					43

7.1	Notification and Information required by the Authority		44

7.2	Notification and Information requested by the Authority		47

8.0	Occupational Exposure Registers						48

9.0 	References & further information						50

Appendices

Appendix 1 – Common Occupational Infections

Appendix 2 – Risk Assessment Checklist for activities involving the deliberate use of biological agents at work

Appendix 3 – Risk Assessment Checklist for activities involving incidental exposure to biological agents at work

Appendix 4 – Notification of use of biological agents and dispensation form

Appendix 5- Fumigation

Appendix 6- Further Information on Biological Safety Cabinets

Appendix 7- Autoclave Checklists

1.0	Introduction

The Safety, Health and Welfare at Work (Biological Agents) Regulations 2010, give legal effect to Council Directive 2000/54/EC, concerned with the protection of workers from risks related to exposure to biological agents at work. The Regulations are made under the Safety, Health and Welfare at Work Act 2005 (No. 10 of 2005) and are also linked to the requirements in the Safety, Health and Welfare at Work (General Application) Regulations 2007 (S.I. No 299 of 2007) as amended by the Safety, Health and Welfare at Work (General Application) (Amendment) Regulations 2007 (S.I. No 732 of 2007) and the Safety, Health and Welfare at Work (Chemical Agents) Regulations 2001 (S.I. No 619 of 2001).

The Regulations, which came into effect on XX, YYY 2010, revoked the Safety, Health and Welfare at Work (Biological Agents) Regulations 1994 (S.I. No. 146 of 1994) and the Safety, Health and Welfare at Work (Biological Agents) (Amendment) Regulations 1998 (S.I. No. 248 of 1998).

The Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 set down obligations on employers regarding the determination and assessment of risk of hazardous biological agents; the prevention and control of exposure to hazardous biological agents; specific protection and preventive measures; arrangements to deal with accidents; incidents and emergencies; information training and consultation; health surveillance; record keeping and notification requirements to the Authority and duties for employees.

The guidelines are not intended as a legal interpretation of the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010.

The overall purpose of the guidelines is to give general guidance on the prevention of risks to safety and health related to exposure to dangerous biological agents at the workplace.

These guidelines emphasise, in particular, the importance of adequate and appropriate risk assessment as laid down in Regulation 8 of the Regulations. The aim of these guidelines is to assist in the understanding and implementation of the requirements and responsibilities as set out in the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010.

2.0	Biological Agents

Biological agents are defined in the Regulations, as micro-organisms, including those that have been genetically modified, cell cultures and human endoparasites, which may provoke any infection, allergy or toxicity. They are also defined in the Regulations as microbiological entities, cellular or non-cellular, capable of replication or of transferring genetic material.

Biological agents are found virtually everywhere in the natural environment.  However, certain biological agents can cause harm - either by infection, causing disease (i.e. are pathogenic), by causing allergy or by producing toxins which are harmful. There are two modes of exposure at work to biological agents (1) they are intentionally worked with, as in a microbiological laboratory or (2) incidental exposure may occur as a result of the kind of work done, such as healthcare work, farming, refuse disposal or work with products of animal origin.  In the second group the exposure to biological agents is incidental to the purpose of the work.

Schedule 1 of the relevant Code of Practice groups the biological agents as:

bacteria, viruses, prions (which includes unconventional agents associated with the transmissible spongiform encephalopathies (TSEs) fungi parasites.

Biological agents have been classified by the World Health Organization and these classifications have been adopted worldwide by various bodies including the EU and are included in the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 and the relevant Code of Practice.

The classification system is based on the relative risk of the biological agent causing disease in humans, the severity of the disease caused, the ease with which that disease may spread and the availability of effective treatments or prophylaxis (preventative measures) as follows:

- A group 1 biological agent or microorganism is one that is unlikely to cause human disease; (i.e. no or low individual or community risk).  Other than requiring good hygienic procedures, this group is effectively outside the scope of the Regulations.

- A group 2 biological agent is one that can cause human disease and might be a hazard to employees, although it is unlikely to spread to the community and in respect of which there is usually effective prophylaxis (preventative measures) or treatment available (i.e. moderate individual risk, low community risk).

Example of a group 2 biological agent: Legionella pneumophila What is it? : Legionella pneumophila is naturally found in low concentrations, which are non-hazardous in rivers/lakes/ground water. The temperature required for growth of the bacteria is from 20 oC to 45oC and a temperature greater than 60oC will kill viable bacteria. It can cause Legionnaires’ Disease, a potentially fatal form of pneumonia if water aerosols or mists containing a sufficient number of the bacteria are inhaled. . Sources: Cooling systems, Spa pools, hot/ cold water systems (showers etc.), humidifiers, spray and sprinkler systems, Systems with stagnant water. Who is at risk: Immunosuppressed individuals, individuals older than 45 years old, and smokers. Prevention: Carry out risk assessment and put preventative measures in place, eliminate conditions for infection. See Schedules 2 and 3 of the Biological Agents Code of Practice for details of containment level 2.

- A group 3 biological agent is one which can cause severe human disease and presents a serious hazard to employees and which may present a risk of spreading to the community, though there is usually effective prophylaxis or treatment available (i.e. high individual risk, low community risk).

Example of a group 3 biological agent: Mycobacterium tuberculosis (M. tuberculosis) What is it? Tuberculosis is a common and deadly infectious disease caused by bacteria of the Mycobacteria spp., usually Mycobacterium tuberculosis. Tuberculosis commonly attacks the lungs causing pulmonary TB, but it may also affect other parts of the body, including the glands, the bones and in rare cases the brain. Prevention: Carry out a risk assessment and put preventative measures in place, such as eliminate conditions for infection and provide suitable vaccinations. See Schedules 2 & 3 of Biological Agents Code of Practice for details of containment level 3.

- A group 4 biological agent is one which causes severe human disease and is a serious hazard to employees and which may present a high risk of spreading to the community and in respect of which there is usually no effective prophylaxis or treatment available (i.e. high individual and high community risk). See Schedules 2 & 3 of Biological Agents Code of Practice for details of containment level 4.

Example of a group 4 biological agent: Ebola Virus What is it? This agent causes a viral haemorrhagic fever leading to rapid death in infected persons. It is usually highly infectious and, there is no specific effective treatment or prophylaxis available.

3.0	 Legal Requirements

What are the Legal Requirements?

The main legal requirements stem from the following legislation:

The Safety Health and Welfare at Work Act 2005 The Safety Health and Welfare at Work (General Applications) Regulations 2007 The Safety Health and Welfare at Work (Biological Agents) Regulations 2010 and the relevant Code of Practice. The Safety Health and Welfare at Work (Chemical Agents) Regulations 2001 The Carriage of Dangerous Goods by Road Regulations 2007

The Safety Health and Welfare at Work Act 2005, sets out the general duties of all employers to manage the safety, health and welfare of their employees in any place of employment.  The principal elements of the Act (relevant to these guidelines) are:

- having in place protective and preventative measures including hazard identification and risk assessment and control (Sections 19 and 20) and

- consulting with employees (Section 26)

- provision of information, to employees (Section 9)

- provision of instruction and training to employees (Section 10).

Separate guidelines on the Act and its requirements are available on the Health and Safety Authority’s website: www.hsa.ie.

The Safety Health and Welfare at Work (General Applications) Regulations 2007, lay down more detailed requirements in a broad range of Regulations that pertain, in general, to all workplaces.  These Regulations include the following topics:

- the general workplace and work equipment and its use

- personal protective equipment

- manual handling

- display screen equipment

- electricity

- working at heights

- noise and vibration

- sensitive groups – pregnant employees, young people and shift workers

- safety signs and first-aid

- explosive atmospheres at places of work.

Separate guidelines on these Regulations are available on the Health and Safety Authority’s website. www.hsa.ie.

The Safety Health and Welfare at Work (Biological Agents) Regulations 2010 and the relevant Code of Practice lay down the specific requirements pertaining to the exposure to biological agents in the workplace.

The Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 are divided into 5 parts:

Part 1 - Preliminary and General (Regulations 1 to 5)

- The Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 apply to all workplaces where there is a potential for exposure to biological agents, either deliberate, e.g. through isolation or concentration of a biological agent in a laboratory or incidental exposure, through work in a sewage treatment plant. See Appendix 1 for a range of common occupational infections and their sources.

- In this Part of the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010, the classification of biological agents into four hazard groups is detailed (see Section 2.0 for further details).

- Regulation 5 indicates that the Health and Safety Authority may prohibit a specific use of a biological agent or require the application of additional control measures.

Part 2 - Duties of Employers and Employees (Regulations 6 and 7)

- The first duty of the employer is the all encompassing one to apply the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 and the relevant provisions of the relevant Code of Practice.

- The duties include carrying out a risk assessment and putting in place the appropriate measures to protect employees’ health and safety (see Section 4.1 of these guidelines for further details) and prevent exposure to biological agents where the risk assessment reveals a risk to employees’ health and safety.

- Avoid the use of harmful biological agents, if possible by substituting with less harmful biological agents, which under their conditions of use eliminates or reduces the risk to employees’ health.

- Comply with the provisions of the Code of Practice e.g. for a group 2 agent, the employer must have the minimum controls listed in Schedule 2 in place.

- Consult with, inform and train their employees.

- Notify the Health and Safety Authority as per Section 4 below.

- It is the duty of the employee to report immediately any accident or incident he or she becomes aware of.  This duty is in addition to duties already specified in the Safety, Health and Welfare at Work Act 2005.

Part 3 - Protective and Preventive Measures (Regulations 8 - 10)

- The Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 require that a specific biological agents’ written risk assessment is completed and measures are put in place to protect the health and safety of employees.

- If possible, harmful biological agents should be substituted with less harmful biological agents. Where substitution with a less harmful biological agent is not possible, exposure should be prevented and at least reduced to as low a level as necessary to protect the health and safety of employees (see Section 4.0 of these guidelines).

- The Regulations require that employees receive appropriate training and information on (a) potential health risks, (b) precautions to be taken, (c) hygiene requirements, (d) the wearing and use of personal protective equipment, (e) possible vaccines available and (f) steps to be taken by employees in the case of accidents and to prevent incidents.

- In line with requirements in the General Application Regulations, the Biological Agents Regulations require that certain hygiene measures are in place.  Employees may not eat or drink in any area where there is a risk of contamination.  Employees must be provided with suitable washing and toilet facilities to prevent contamination or re-contamination.  Appropriate use of skin antiseptics should be considered.  Clear procedures such as written standard operating procedures (SOPs) should be in place for the taking, handling, and processing of samples of human or animal origin.

- Suitable Individual protective equipment must be provided, managed, cleaned or disposed of to prevent contamination (see Section 4.4 of these guidelines). Where there is a risk to safety and health, an appropriate health surveillance programme must be in place and any issues arising from the programme must be acted upon.  The Regulation also details matters on keeping employee medical records (see Section 4.8 of these guidelines for details on health surveillance).

- Regulation 14 requires that employers are required to maintain emergency procedures and plans in line with the requirements of sections 8 and 11 of the Safety, Health and Welfare at Work Act 2005 (see Section 4.9 of these guidelines for details on emergency plans).

Part 4 - Notification and Record Keeping (Regulations 15 and 16)

- Employers must provide to the Authority, when requested and only when requested, any information used to complete the risk assessment.

- Employers must provide information to employees on risk assessments carried out.

- Employers must inform the Authority of any accident or incident resulting in a release which could cause serious infection or illness to any person. An IR3 form of notification of a dangerous occurrence should be completed in this case, see the Health and Safety Authority’s website: www.hsa.ie for form.

- Persons who cease to be an employer, must deliver to the Authority the medical register required in Regulation 16 (Occupational Exposure Register).

- Employers must notify 30 days in advance the first use of group 2, 3 or 4 biological agents.  There are further requirements depending on the classification and work conditions and in certain circumstances some requirements can be dispensed with (see Section 7.0 of these guidelines).

- An Occupational Register must be kept of employees who may be exposed to group 3 or 4 biological agents (see Section 8.0 of these guidelines).

- Employees or their safety representative must have access to the collective information in the register, provided the information is not identifiable with any one employee.

Part 5 - Special Measures (Regulations 18 and 19)

- Regulations 18 and 19 list extra considerations that must be included when carrying out a risk assessment regarding biological agents in the health care or veterinary sectors, laboratories, animal rooms and industrial processes.

The Regulations include 5 Schedules which expand on the requirements of the Regulations:

- Schedule 1 gives a non-exhaustive indicative list of work areas where hazardous biological agents might be encountered, for example food production, agriculture, health care and biotechnology.

- Schedule 2 outlines prevention and reduction measures that may be put in place where it is not technically possible to prevent exposure, such as the use of engineering controls, e.g. a biological safety cabinet.

- Schedule 3 indicates the Biohazard Sign. This sign is required in the workplace at containment levels 3 and 4.

- Schedule 4 gives recommendations on vaccination (see Section 4.7 of these guidelines)

- Schedule 5 gives recommendations for health surveillance (see Section 4.8 of these guidelines)

Code of Practice to the Safety Health and Welfare at Work (Biological Agents) Regulations 2010

The foreword, introduction, definitions and introductory notes give advice on interpreting and making correct use of the Code of Practice.

- Schedule 1 lists the applicable Biological Agents (bacteria, viruses, fungi and parasites) and their classifications including any relevant notes (e.g. T=toxin, A=Allergen, V=Vaccine available).

- Schedule 2 lists the minimum containment measures and levels.

- Schedule 3 lists the minimum containment measures and levels for industrial processes

- Schedule 4 lists dispensations of minimum containment measures which may be exempted for certain group 3 biological agents where there is a limited risk of infection because the agent is not normally infectious by the airborne route.  Biological Agents which may be considered are indicated by asterisk (*) in schedule 1.

Safety, Health and Welfare at Work (Chemical Agents) Regulations 2001

Employers working with biological agents are also likely to be using chemical agents (including disinfectants, cleaning agents etc.) and so the requirements of the Chemical Agents Regulations 2001 will also be applicable.

See separate guidance for Chemical Agents published by the Health and Safety Authority, which are available on its website www.hsa.ie.

The Carriage of Dangerous Goods by Road Regulations 2007

The requirements of the Dangerous Goods by Road Regulations will apply if the

employer is transporting biological waste (Class 6.2 Infectious Substances). The employer should seek the advice of a Dangerous Goods Safety Advisor (DSGA). UN approved packaging and labelling is required for Class 6.2 waste and consignment documentation is also required.

For further information refer to: Guidance on Regulations for the transportation of infectious substances 2007-2008, published by the World Health Organisation.

4.0	 Preventive and Protective Measures

4.1	Risk Assessment

Whether considering chemical, physical or biological agents there is a common general structure for completing a risk assessment. See the suggested risk assessment check lists in Appendices 2 and 3.  Appendix 2 contains a checklist for activities involving deliberate use while Appendix 3 contains a checklist for activities involving incidental exposure to biological agents.

The major steps in identifying and assessing the degree of risk associated with the biological hazard(s) are:

Identify the hazards Consider who might be affected and how they might be harmed. Evaluate the risks and take precautions. Document and implement your findings. Update and review.

- Identifying the hazards

The risk assessment must be completed by a competent person (as defined under the Safety, Health and Welfare at Work Act 2005) who possesses sufficient training, experience and knowledge appropriate to the nature of the work.  The technical qualifications required will vary depending on the complexity of the operation.

The first step is to identify the hazard or hazards.

- What biological agents could be or are present?

- Regarding the work sector, are there specific biological agents associated with it?

- Does the work involve deliberate or incidental exposure to biological agents?

Lists of pathogenic biological agents have been drawn up the by the European Commission and the UK Advisory Committee on Dangerous Pathogens and these are included in Schedule 1 of the relevant Code of Practice for the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010.

To assess the hazards and implement controls and prevent infection, illness and death, the World Health Organisation has drawn up four categories or hazard groups for workplace biological agents.  These definitions have been included in major national and international authorities’ guidance on biohazards including EU Directive 2000/54/EC which has been transposed into Irish law through the Biological Agents Regulations 2010 (see Section 2.0 of these guidelines).

The Hazard Groups: When considering what hazard group a biological agent should be assigned, there are four major parameters: Is the agent pathogenic to humans? Is the agent hazardous to employees? Is the agent transmissible to the community? Is effective prophylaxis (a measure taken for the prevention of a disease or condition) available?

The list of biological agents in Schedule 1 of the relevant Code of Practice classifies biological agents on their ability to cause harm to human health only (for classification see section 2.0 of these guidelines).

Certain agents listed in Schedule 1 are recognised as human allergens or are known to produce toxin (s) and these biological agents are marked with A or T in the Code of Practice. There are other notes at the end of Schedule 1-Part 2 to the Code, specific to certain biological agents which should be borne in mind when carrying out risk assessments. Also, be aware that certain group 3 agents marked with an asterisk are eligible for a certain degree of dispensation from level 3 containment requirements, due to the specific biological agent not being normally infectious via the airborne route.

- Consider WHO might be affected and HOW they might be harmed

An employer must determine how many employees are working with or have a potential to be exposed.  Assess what training they have received and qualifications held.  Determine the level of competence required to complete the work as planned with precautions in place and maintained to prevent harmful exposure.

There are many sources of information that employers can use to find out more about

the hazardous properties of biological agents. These include:

➢ guidance published by the Authority or other authoritative organisations;

➢ previous experience of using the biological agent;

➢ technical reference sources (textbooks, scientific and technical papers, trade

journals, etc.);

➢ professional institutions, trade associations, trade unions and specialist

consultancy services;

➢ the Internet.

When assessing how employees might be harmed, it is necessary to consider:

- the potential for generating aerosols, including splashing;

- the quantity (volume, concentration, infectious dose of the biological agent etc) and

- the proposed work methods (in vitro, in vivo, aerosol challenge or environmental release).

Consider special risk groups such as pregnant employees and immune-suppressed individuals. When considering the special risk groups consult the Safety, Health and Welfare (General Application) Regulations 2007, Part 6, Sensitive Risk Groups, Chapter 1, Children and Young Persons and Chapter 2 Pregnant, Post Natal and Breastfeeding Employees. The employer must also take into consideration visitors, contractors and maintenance staff.  The employer should also take into consideration that non-routine maintenance work is often of higher risk.

Work can be divided into two exposure types: incidental and deliberate. Incidental exposure can occur in many workplaces, where there is no intentional work with biological agents for example in a mortuary. Exposures can also occur in workplaces where there is deliberate work with biological agents, such as research or diagnostic processes in a laboratory, large scale industrial processes in biotechnology, pharmaceutical or food production plants.

- Evaluate the risks and take precautions

Before evaluating the risks it is imperative to have completed a thorough list of all potential pathogens which the employees might be exposed to in the particular workplace.

If the biological agents identified are included in the lists in the associated  Code of Practice, then their risk group can be identified and leading from this the minimum precautions recommended for control can be referred to in Schedule 2 or 3 of the Code of Practice.

Self Classification of the agent (s) is carried out by the employer if the agent is not listed in Schedule 1 of the Code of Practice. The employer shall classify that biological agent to one of the hazard groups according to its level of risk of infection as defined in the Code of Practice. If in doubt as to which of two groups (e.g. 2 or 3) to assign the agent to the employer shall assign it to the higher group. If the biological agent subsequently appears in a later edition of the Code of Practice, the classification given to it in the later edition of the Code of Practice must take priority.

Other factors that should be considered, as appropriate, include: Pathogenicity of the biological agent and infectious dose of the biological agent Potential outcome of exposure Natural route of infection Other potential routes of infection, resulting from manipulations during work processes Stability of the biological agent in the environment and what form the biological agent may be in, e.g. infectious stages or hardy spores Concentration of the agent and volume of concentrated material to be manipulated during work processes Presence of a suitable host (human or animal) Information available from animal studies and reports of acquired infections or clinical reports Laboratory activity planned (sonication, aerosolization, centrifugation, etc.) Any genetic manipulation of the biological agents that may extend the host range of the biological agent or alter the biological agent’s sensitivity to known, effective treatment regimens Local availability of effective prophylaxis or therapeutic interventions.

See section 4.5 of these guidelines for further details on different containment levels.

- Document and implement your findings

Putting the results of your risk assessment into practice is vital to protect your employees.  Writing down the results of your risk assessment, and sharing them with your employees, ensures things get done and employee’s active participation.

The assessment must be suitable and sufficient and show that:

- A proper check was made;

- Those who might be affected were considered;

- Significant hazards were considered, taking into account the number of people who could be involved;

- The precautions are reasonable, and the remaining risk is low; and

- Staff or their representatives are involved in the process.

Make a plan of action and prioritise it to deal with the most important things first.   As you complete action items, update your risk assessment records.

- Update and review.

Over time work procedures, personnel and systems change.  Change can lead to new hazards and so regular review makes sense.  Regular formal reviews will help maintain and build on controls.

Is the risk assessment accurate? What are the changes since the last review? Are there any lessons to be learnt?

See Further Information Section 9.0 of these guidelines for more reference material in this area.

4.2	Information and Training

Where there is a risk to the safety or health of employees due to work with a biological agent, the employer must ensure that employees receive sufficient and appropriate training and information concerning:

potential risks to health precautions to be taken to prevent exposure hygiene requirements the wearing and use of personal protective equipment the steps to be taken by employees in the case of incidents and to prevent incidents the hazardous properties of the biological agents handled; the level, type and duration of exposure and the circumstances of work involving such biological agents; appropriate precautions to safeguard themselves and other workers at the workplaces; the effect of risk-management procedures taken or to be taken; To whom potential health problems should be reported

Additionally, the employer must provide such information to any employer of other employees or any self-employed person who may be affected by exposure to a biological agent arising from his or her undertaking. The employer must also provide appropriate training and written instructions at the place of work and, if appropriate, display the biohazard sign and/or notices containing the procedure to be followed in the case of a serious accident or incident involving a biological agent. The employer must ensure the instructions are written in a form, manner and language likely to be understood by employees.

Also, the employer must ensure that all relevant employees and other persons are informed immediately of any accident or incident which may have resulted in the release of a biological agent which could cause severe human infection or illness (or both), and of the causes of and measures taken in relation to any such serious accident or incident.

Worker information in particular cases:

Workers must receive information and training on written instructions containing at least the procedure to be followed, in the event of a serious accident or incident.

Immediate information must be available in the event of any accident or incident which may result in the release of a biological agent, including the cause and the measures taken or to be taken.

Workers must immediately report any accident or incident involving the handling of a biological agent. They must have access to the information contained in the list of workers exposed, i.e. information which relates to them personally and anonymous collective information.

Workers should be informed of the risks they face and the preventive measures in place to control those risks. They need to know how to work safely and how to use protective equipment, where required.

Regarding vaccines, workers should be made aware of the effectiveness and limitations of any vaccines available to them and also the benefits and drawbacks of vaccination and non-vaccination (see Section 4.7 for further details).

4.3	Hygiene Measures:

Hygiene measures aim to prevent or reduce the accidental transfer or release of biological agents from the workplace.

- Eating, smoking and drinking should be forbidden in the area of the workplace where there is a risk of contamination with biological agents.

- Hands (and arms potentially) should be washed before eating, drinking, smoking, using the telephone, applying cosmetics or inserting contact lenses etc.

- There should be suitable facilities provided for staff to wash with hot running water and soap. Hands should still be washed even if gloves have been worn or alcohol hand wipes/rubs can be used on physically clean hands. Alcohol is not a way of physically cleaning but acts as a chemical sanitising agent, proper hand washing is far more effective.

- Any existing cuts or grazes on individual’s hands should be covered with waterproof dressings and/or gloves before commencing any work with biological agents. If any cuts or grazes occur during work, these should be washed immediately.

- Hand to mouth, nose or hand to eye contact should be avoided. Care should be taken with pens, that these are not inserted into the mouth or taken from dirty to clean areas.

- Rest breaks and meal breaks should be taken away from the biological agent (s) work area.

- Employees should remove any personal protective equipment and contaminated clothing when leaving the work area and not enter clean areas wearing contaminated protective equipment. Hygiene measures vary according to the safety containment level required see Section 4.5 for further details on the different containment levels.

- Procedures should be in place for taking, handling and processing any samples of human or animal origin.

- Employees should be provided with suitable washing and toilet facilities, which may include eye washes and skin antiseptics (or both).

Recommended basic practice for hand washing is: wet soap wash rinse dry Using cleansing gels or wipes is not a substitute for proper hand washing.

  - Individual Protection Measures

4.4.1	Personal Protective Equipment (PPE) - General

PPE is used as a last line of defence in the control hierarchy for biological agent exposure, where exposure cannot be avoided by other means e.g. engineering controls.  It can also be used as secondary support to and back up of engineering control in case of unforeseen failure of engineering control.

PPE should be fit for purpose and suitable for the person using/wearing it with donning and removing carried out appropriately each time of use. PPE should be located close to the point of use and stored in a clean and dry storage area to ensure that it is not contaminated prior to use. PPE should not be a source of further contamination e.g. by being removed inappropriately or left on contaminated surfaces PPE should be for personal use, not shared and should be provided free of charge to the employee. All PPE should comply with Harmonised European Standards for PPE and carry the CE mark. All PPE provided should be compatible with each other

Written information and protocols for PPE use should be available in relevant languages, where appropriate.

Remove PPE in the correct, recommended order: Wash and disinfect boots Remove hood of overall Remove gloves (see Section 4.4.2) Remove coverall/gown (see Section 4.4.3) Remove boots Wash/Decontaminate hands Remove eye protection (see Section 4.4.5) Remove Mask/Respirator (see Section 4.4.4) Wash/Decontaminate hands again

4.4.2	Gloves

All glove selection must be preceded by risk assessment, the main concerns are what glove type to wear and how to don and remove gloves safely to prevent cross contamination. Where there is a risk of exposure to potentially infectious material, disposable gloves should be worn.

Non sterile vinyl/nitrile/synthetic gloves may be used or where sterility is an issue, sterile nitrile/neoprene or other equivalent gloves may be used.

Gloves must be appropriate for use, fit for purpose and well fitting to avoid interference with dexterity. They should not cause friction, excessive sweating, finger and hand muscle fatigue or tear easily. The supply and choice of the correct size of glove is important. All gloves should be CE marked for use with biological agents.

The use of gauntlet-style (long arm) gloves to cover the forearm may be necessary in certain situations and should be considered within risk assessment procedures.

A double gloving strategy may be considered in particularly high risk situations. This allows for removal and replacement of the outer gloves, if contaminated, while still retaining skin protection.

(Diagrams to be inserted here)

Gloves should be the last piece of PPE to be donned. At containment levels 3 and 4 gloves should be pulled over the wrists of the gown rather than worn inside.

4.4.3	Protective Clothing

Personal Protective Clothing should be worn when using a Biological Safety Cabinet.

There are various types: laboratory coats, aprons/gowns, sleeve protectors or full body suits and footwear depending on the type of protection required from the risk assessment. Protective clothing must not be worn outside the laboratory.

Laboratory coats are considered acceptable for biological safety level 1, but not at levels 2, 3 and 4.

In laboratories, the amount of protective clothing varies according to the hazard or protection levels required in the lab (1-4) identified from the risk assessment.

Level1: Lab Coat and Gloves, additionally face or eye protection may be required

(Diagrams to be inserted here)

Level 2:  At this containment level, laboratory coats must have long sleeves with elastic cuffing, there should be no skin exposed between gloves and the sleeve, and the coats should only be worn within the laboratory area.

Level 3: Laboratory clothing should only be worn within the lab. Solid front gowns or coats must be worn for this safety level, with back closures, close fitting cuffs and quick release studs or Velcro fastenings, to provide better protection. The coats should be autoclaved before laundering or disposal, head covers and dedicated footwear, that can be sterilised, should be worn depending on the infectious biological agents in use.

Level 4: One piece, positive pressure-ventilated suits can be worn, see figure below.

(Diagrams to be inserted here)

Gown Removal Process:

(Diagrams to be inserted here)

4.4.4	Respiratory Protection

Bio aerosol particle size, the airborne agent concentration and the type of biological agent are the main decision criteria when choosing respiratory protective equipment (RPE).  If such information is unknown then an air supplied breathing apparatus would be recommended or a FFP3 respirator should be considered prudent until data are available that allow better assessment of the risk associated with different procedures/circumstances. A FFP2 disposable particulate/filtering half face piece respirator is the minimum level of protection needed for airborne infectious agents (if particle size is>0.3um in diameter).  They are not effective against high concentrations of pathogens however.

- Fitting a respirator correctly is critically important for it to provide proper protection.

- Every user should be fit tested and trained in the correct use of the respirator

- A fit check should be carried out each time a respirator is worn by the individual wearer

See Annex E of IS EN 529:2005, Respiratory Protective Devices - Recommendations for Selection, Use, Care and Maintenance.

Mask Removal Process:

Gown, head covering, and gloves should be removed before removing the respirator.

(Diagrams to be inserted here)

Various Respirator Types:

(Diagrams to be inserted here)

4.4.5	Face, Eye and Head Protection

Face or eye protection such as goggles or a face shields should be considered where there is a risk of contamination of the eyes or mucosal membranes by splashes and droplets.

They should be well fitting and fit for purpose. Comfortable protection is important to ensure adequate protection.

Eye Protection Removal:

(Diagrams to be inserted here)

Face or eye or head protection should be removed promptly after use, avoiding contact with the most likely contaminated areas e.g. the front surface.

An employer shall ensure that any personal protective equipment provided, (see Regulation 62 of the Safety, Health and Welfare at Work (General Application) Regulations 2007) is maintained at all times in good working order and in a satisfactory hygienic condition by means of any necessary storage, maintenance, repair or replacement.

Perform hand hygiene immediately after removal or disposal of face protection

4.5.	Containment Levels

4.5.1	Containment

The relevant Code of Practice specifies three containment levels which correspond to Hazard Groups 2, 3 and 4 (see Section 2.0).

As biological agents of risk group 1 involve little or no hazard to workers, no special design features beyond those suitable for a well designed and functional laboratory are required. Biological safety cabinets are not required. Work may be done on an open bench top and containment is achieved through the use of practices normally employed in a basic microbiology laboratory.

Good Microbiological Practice would include: A laboratory that is easy to clean Bench surfaces impervious to water and resistant to chemicals Sink for hand washing Inward flow of air into laboratory to be maintained Door to be closed while work is in progress Laboratory coats to be worn in the lab and removed before leaving the laboratory Eating, chewing, drinking, smoking, storing food, applying cosmetics and mouth pipetting are forbidden Hands must be disinfected and washed as appropriate Aerosol production must be minimised Effective disinfectants must be available Bench tops cleaned after use Used equipment awaiting sterilisation must be stored safely. Pipettes in disinfectant must be totally immersed Waste material must either be incinerated or rendered non-viable before disposal. It must be transported in robust containers without spillage Accidents and incidents must be reported

Figure 1- LEVEL 1 Containment Measures (courtesy of CUH2A)

The principles of good microbiological practice should be applied to all types of work involving micro-organisms irrespective of containment level.

Level 2:

Biological agents of hazard group 2 may cause infectious diseases in humans.

Agents requiring containment level 2 facilities are not usually transmitted by airborne routes.

Care must be taken to avoid the generation of aerosols or splashes as these can settle onto bench tops and become an ingestion hazard through contamination of the hands. Containment devices such as biological safety cabinets and centrifuges with sealed rotors or safety cups are to be used as well as appropriate personal protective equipment. Environmental contamination must be minimised by the use of hand washing sinks and decontamination facilities (such as autoclaves).

For specific containment measure requirements, refer to Schedules 2 and/or 3 of the Biological Agents Code of Practice.

Figure 2-LEVEL 2 Containment Measures (courtesy of CUH2A)

Level 3:

Containment measures at this level are intended to prevent any escape of biological agents and any worker exposure. These biological agents may be transmitted by the airborne route, they frequently have a low infectious dose to produce effects and can cause serious or life threatening disease. This containment level emphasizes additional primary and secondary barriers to minimize the release of infectious organisms into the laboratory and the environment. Additional features to prevent transmission of such organisms are suitable respiratory protection, High Efficiency Particulate Air (HEPA) filtration of exhausted laboratory air and strictly controlled laboratory access. For specific containment measures requirements, refer to Schedules 2 and/or 3 of the Biological Agents Code of Practice.

A dispensation may be applied for certain hazard level 3 biological agents to not utilise all the required controls at this level, see Section 7.0.

Figure 3-LEVEL 3 Containment Measures (courtesy of CUH2A)

Level 4

The containment measures at this level are intended to consistently prevent the escape of biological agents since these represent a serious hazard to workers, third parties and the environment in terms of the risk of catching a life-threatening, untreatable infectious disease.

This is the highest containment level, as these biological agents have the potential for aerosol transmission, they often have a low infectious dose and produce very serious and often fatal disease and there is generally no treatment or vaccine available. This containment level consists of an isolated unit, functionally and when necessary structurally independent of other areas. This containment level emphasises maximum containment of the infectious agent by complete sealing of the facility perimeter (with confirmation by pressure decay testing). It can be achieved with either variation a) isolation of the researcher from the pathogen by containment in a positive pressure suit or variation b) containment of the pathogen in a class III biological safety cabinet line and decontamination of air and other effluents produced in the facility. For specific containment measures requirements, refer to Schedules 2 and/or 3 of the Code of Practice.

Level 4 (a)

Figure 4-LEVEL 4 Containment Measures (courtesy of CUH2A)

Level 4 (b)

Figure 5-LEVEL 4 Containment Measures (courtesy of CUH2A)

4.5.2	Biological safety cabinets

A biological safety cabinet (BSC) is a tool in the laboratory for those who work with biological agents, including pathogenic micro-organisms (also including genetically modified micro-organisms), cell cultures and human and animal tissues and fluids.

There are four major components that contribute to ensuring safe working with BSCs:

- the design, construction and function of the cabinet itself;

  - good laboratory design (specifically with respect to cabinet location and room    ventilation)

- safe systems of work that incorporate good operational technique

- regular appropriate testing and maintenance.

The European Standard on Microbiological Safety Cabinets defines a cabinet as a:

"Ventilated enclosure intended to offer protection to the user and the environment from the aerosols arising from the handling of potentially hazardous and hazardous micro-organisms, with air discharged to the atmosphere being filtered"

See Appendix 6 for further information on Biological Safety Cabinets.

4.5.3	 Autoclaves

There are several different types of hazard associated with the use of autoclaves, for example high pressures and temperatures and the unloading process. Important factors that should be taken into account in the risk assessments and controls to be implemented are:

Selection

The relevant Irish standard covering the use of autoclaves in laboratories is IS EN 12347:1998 Biotechnology- Performance Criteria for Steam Sterilizers and Autoclaves. When purchasing autoclaves or arranging maintenance work one should confirm the autoclave complies with the Irish Standard Specifications. The requirement for any additional controls on the exhaust for autoclaves in containment level 3 areas should be determined through risk assessment. All autoclaves should be CE marked.

Safe Access

For loading and unloading is essential that the door safety devices should function to securely fasten door shut while it is subjected to internal pressure and thereby prevent the risk of the door being violently blown open. The device should ensure that the vessel cannot be pressurised until the door is securely closed. It should not be possible to open the door until the internal pressure has been fully vented to atmospheric pressure. The door should be restrained for the first part of its travel until the seal has been broken.

Note: See Appendix 7 for Autoclave checklists.

4.5.4	Centrifuges

There are several hazards associated with the use of centrifuges: rotating parts, sample imbalance causing machine movement and sample leaks for example. Only trained personnel should operate centrifuges.  It is important never to overload centrifuges and to balance the rotor properly at all times before operating.

See I.S. EN 12547 Centrifuges- Common Safety Requirements, for further information.

4.5.5 	Disinfection and sanitisation

Control of biological agents can occur through physical or chemical means. Physical methods include heat (either moist involving pressurisation or dry) and radiation. Chemical methods can use either liquid, gaseous or solid states and vary from disinfectants and antiseptics to sterilants.

- A Germicide is any physical or chemical agent that kills microorganism

- Disinfection is the destruction of biological agents to levels such that any infection hazard is removed and the disinfected object is safe to handle.

- Sterilisation is the destruction of all viable biological agents present

- Sanitisation is any cleansing technique that mechanically removes microorganisms to reduce the number of microorganisms, e.g. soap or detergent.

Several factors affect the germicidal activity of chemicals, the nature of the microorganism, the nature of the material being treated, the degree of contamination, the time of exposure and the strength and chemical action of the germicide. Several different groups of chemicals are used for antimicrobial purposes, including halogens, heavy metals, alcohols, phenols, oxidizers and aldehydes. Due to varying properties, each has different uses and limitations.

It is essential to select the most suitable disinfectant and use it in accordance with the manufacturer’s instructions.  Information on the effectiveness, use, storage, compatibility and safe handling of a disinfectant should be obtained from the supplier (see BS 7152:1991 Choice of Chemical disinfectants for further information).

Employers should carry out a risk assessment on the use of all chemical disinfectants to determine the particular precautions required for each.

Note: See also Appendix 5 on Fumigation

4.6	Special Measures

4.6.1	Veterinary care:

Workers in veterinary practices or those working with research animals are at risk of infection by a variety of zoonoses, e.g. Brucellosis, Leptospirosis, Q Fever. Through a variety of mechanisms, such as direct skin contact, inhalation of aerosols, contact with bodily fluids, animal waste, needle stick injuries, bites or scratches, vets and veterinary nurses and are at risk.

Particular attention must be made to the provision of adequate written risk assessments (see Section 4.1 of these guidelines), identification of control measures and good hygiene practices (see Section 4.3 of these guidelines) to prevent the spread of infection.   Infection control policies, specified decontamination and disinfection procedures should be implemented to enable appropriate waste disposal (see Royal College of Veterinary Surgeons (RCVS) Practice Standards Scheme Manual for guidance available from the RCVS website: http://www.rcvs.org.uk).

Where animals are suspected of being infected with a group 3 or 4 biological agent, appropriate containment measures must be applied at the place of work (see Schedule 2 of the Code of Practice for minimum containment measures).

Employees must receive appropriate information, instruction and training about the risks and how the risks will be controlled.

4.6.2	Laboratories, Industrial processes and Animal Rooms:

Industrial processes such as fermentation systems using biological agents or laboratory animals infected with or suspected to be carriers of such biological agents will require minimum containment measures as specified in Schedules 2 and 3 of the Biological Agents Code of Practice.

Particular attention must be made to the provision of adequate written risk assessments (see Section 4.1 of these guidelines), identification of control measure and good hygiene practices (see Section 4.3 of these guidelines) to prevent the spread of infection (see Advisory Committee on Dangerous Pathogens (ADCP) UK guidance on “Working Safely with Research Animals” and “Biological Agents-Managing the risks in laboratories and healthcare premises” for further information).

4.7	Vaccination

The risks of working with particular biological agents should be fully discussed with individual workers.  The availability of possible vaccines or toxoids and/or therapeutic drugs (e.g. antibiotic treatments) in case of exposure should be evaluated through risk assessment before any work with such biological agents is started.

If the risk assessment reveals that there is a risk to the health and safety of employees due to their exposure to a biological agent for which effective vaccines exist, the employer should offer them vaccination.  The use of vaccines may provide an increased level of personal protection e.g. Hepatitis B vaccine for Occupational First Aiders.

The availability of a vaccine for some biological agents is indicated in the notes column of Schedule 1 of the relevant Code of Practice (V: Effective vaccine available). Approximately 30 biological agents are so indicated.

Vaccination should be carried out in accordance with the recommended Immunisation Guidelines for Ireland issued by the National Immunisation Advisory Committee (NIAC) of the Royal College of Physicians of Ireland (RCPI). This publication is available for download from the RCPI website. It includes further detailed guidance on routes of administration, contraindications etc for different vaccines for use by medical practitioners.

Vaccinations are carried out by or under the supervision of the responsible medical practitioner in accordance with NIAC recommendations for the routine administration of vaccines, and schedules regarding the appropriate frequency, dosage, and contraindications.

Employees should be informed of the benefits and drawbacks of both vaccination and non-vaccination. Vaccinations must be offered free of charge to employees

A vaccination certificate may be drawn up which should be made available to the employee concerned and, on request, to the Authority.

4.8	Health Surveillance

It is the employer’s duty to make provisions for relevant health surveillance to be made available for those employees for whom the results of any risk assessment identifies a risk to their safety, health or welfare.  Such health surveillance, where appropriate, must be made available prior to exposure to the biological agent(s) and at regular intervals thereafter.

Health Surveillance is appropriate if:

- The exposure is such that an identifiable disease or adverse health effect may be related to it

- There is reasonable likelihood that the disease or effect may occur under the particular conditions of work

- There are valid techniques for detecting indications of the disease or effect

Individual records of health surveillance must be kept and be made available, on request, to the employee concerned.
Where appropriate, the responsible medical practitioner carrying out health surveillance should be familiar with the exposure conditions or circumstances of each employee.

Health surveillance of employees must be carried out in accordance with the principles and practices of occupational medicine. As a minimum, it must include at least the following measures:

- the keeping of records of an employee's medical and occupational history

- a personalised assessment of the employee's state of health

- where appropriate, biological monitoring in order to detect early and reversible effects.

Further tests may be decided upon for each employee, when he or she is the subject of health surveillance, in light of the most recent knowledge available to occupational medicine, on the advice of the responsible registered medical practitioner.

The responsible medical practitioner is required to retain an individual confidential medical record for an ‘appropriate’ time, usually between 10 to 40 years, depending on the length of time of exposure and/or the likely duration of risk to the safety and health of the employee due to exposure.

It may take several years for the results of exposure to some biological agents to develop and an individual can remain asymptomatic during that time. Health surveillance is not a substitute for adequately controlling exposure and health surveillance for certain biological risks may not be appropriate e.g. it is not usually required for group 2 biological agents.

An example of health surveillance specifically for biological workers is the testing of immunity following vaccination, which could provide an indication of their fitness to work with that particular agent. Other testing or taking of samples may not be necessary for surveillance except in the event of an accident or if there is an indication that infection may have occurred, for example following a needle stick injury.

Ideally, health surveillance will measure the outcomes of abnormal exposures before any real risk of ill-health occurs. Sometimes however, health surveillance can only identify problems after they have occurred (e.g. allergic sensitisation) but before complications arise or intensify (e.g. occupational asthma). The level of health surveillance should be related to the degree of risk as determined in the risk assessment.

4.9	Emergency Plans

Preparing for and practicing appropriate responses for possible emergencies are critical for effectively dealing with such an event.

When completing the site risk assessment, possible emergency scenarios must be identified and then appropriate plans put in place to prevent or mitigate the potential of such emergencies.  The site’s emergency plan is a product of the risk assessment and the biological agent emergency plan must be an element of the site’s overall emergency plan.

In preparing the biological agents emergency plan the following steps should be considered:

| Steps | Stages |
| --- | --- |
| Identify potential emergency situations Establish prevention and mitigation measures | Risk Assessment Stage |
| Establish an emergency response procedure Review and test the emergency preparedness and response plan | Emergency Planning and Response Stage |

Identify potential emergency situations

- What events might lead to an emergency?  
Potential exposures include exposure through containment or barrier failure:

- aerosol release

- needlestick/sharps injury

- spills

- biological safety cabinet failure

- ventilation failure

- loss of services (power, water etc.)

- other emergencies such as fire, severe weather etc.

- What activities, operations, and equipment might be affected?

- What would be the likely health effects to employees and other persons?

Establish prevention and mitigation measures

- How could the emergency be prevented or the probability of occurrence reduced?

- How can the impacts of the emergency be mitigated?

Establish an emergency response procedure

- The Safety, Health and Welfare at Work Act 2005 sets down in section 11, explicit requirements for dealing with all emergencies and serious and imminent dangers.  It provides for the measures to be taken in emergencies, and in the case of serious and imminent danger, in support of the general duties on employers in section 8 of the Act.  The measures must be appropriate to the place of work and cover –

- first aid

- fire- fighting

- the evacuation of employees and others present in the workplace

- contact with the appropriate emergency services with regard to first aid, emergency medical care, fire-fighting and rescue arrangements

- the designation of employees to implement the emergency plan, emergency procedures or necessary measures, and

- the number of those designated employees, the training provided to them and the appropriate equipment available to them.

- When an emergency or serious and imminent danger occurs:

  - The employer must as soon as possible inform all employees about the risk and the protective measures to be taken.

  - Other than to implement the emergency plan or procedures, or to instigate necessary measures to be taken, workers should not be required to continue or resume work while the serious and imminent danger continues.

  - Employees must be made aware of the circumstances in which they are expected to stop work and move to a place of safety.

  - Employees must be able to take appropriate steps to avoid the consequences of the danger in the absence of appropriate guidance or instruction and where their immediate superiors cannot be contacted. These steps should be based on their own knowledge and on the technical means at their disposal.

  - Particular consideration needs to be given to ensuring that the necessary arrangements are in place for contacting the appropriate emergency services outside of normal working hours, during shift and night time work etc.

  - The employer must take action and instruct employees so that they can, either or both, stop work and immediately leave the place of work and go to a safe place. An employee may not be penalised for taking such action.

- Where there is a serious specific danger present in part of the place of work, the employer must ensure that only employees who have been given appropriate instructions have access to that area.  A danger area may be taken to mean a location at the place of work where an unacceptable level of risk would be present if special precautions are not taken (for example, giving permits to work to competent workers or the wearing of breathing apparatus).

- To comply with the legal requirements and ensure the specific biological agent safety requirements are met, a written plan should be prepared which can include instructions for dealing with specific biological agent safety scenarios for the particular workplace and relevant mitigation and recovery measures (e.g. equipment – plan failure control to contain and prevent exposure.  Consider safe emergency shut-down and  make available appropriate medical surveillance or clinical management of exposed persons)

- Procedures for post-incident continuation of operations should be prepared.

- Train employees at the commencement of employment and at appropriate regular intervals in the proper responses to credible scenarios.

Review and test the emergency preparedness and response plan

- Test the plan by holding regular drills and simulations

- Review and revise the plan to reflect (1) changing situations and (2) lessons learned during drills and simulations.

- Review and take appropriate action following any near miss incidents.

For further guidance see:

Emergency planning on the Health and Safety Authority’s website – www.hsa.ie

and the Laboratory Biosafety Manual, published by the World Health Organisation.

5.0	Biological Agents in the Healthcare Sector

Healthcare work activities

Exposure to biological agents may be intentional as a result of working with the biological agent itself e.g. in a microbiology laboratory or unintentional such as in healthcare activities where the exposure does not result from the work itself but is incidental to the work activity;

Healthcare workers may come into contact with a number of sources of infection either through direct contact with patients or with contaminated materials, including waste, laundry, contaminated surfaces etc. Sources of infection may include blood and body fluids and body parts; excreta – faeces, urine and vomit; respiratory secretions and excretions. Any assessment of risk potential must take account of:

- The natural virulence of the pathogen

- Its capacity to survive in the environment

- The severity of the disease caused by the biological agent

- The dose or exposure level of the biological agent necessary to cause illness or infection

- The mode of transmission e.g. airborne, contact with body fluids etc

- Epidemiological factors

For further information see Section 4.1 - Risk Assessment.

For the purposes of risk assessment it may be helpful to categorise pathogens according to their mode of transmission as protective measures are directly connected to the mode of transmission. In the context of the healthcare sector three modes of transmission are of relevance;

- Blood borne infections

- Air borne infections

- Contact infections.

Risk analysis and assessment procedures can be developed separately for each of the defined modes of transmission and the protective measures stipulated respectively.

In some instances special attention needs to be paid to special aspects or questions that arise in connection with particular pathogens or health sector activities and these have to be dealt with individually.

Exposure controls are often reflected in infection control policies. Infection control policies may include protocols on hand washing patient isolation aseptic procedure disinfection and decontamination (including domestic cleaning and waste disposal procedures). Their aim is to prevent the spread of infection and the measures protect the patient and the employee. The process of risk assessment is an integral part of managing the control of infection and the control measures required by health and safety legislation should already largely be in place as part of an infection control or related policies.

Standard Precautions

Standard Precautions are evidence based clinical work practices published by the Centre of Disease Control (CDC) in 1996 and updated in 2007 which are intended to prevent transmission of infectious biological agents in healthcare settings.

The rationale for Standard Precautions is that within a healthcare setting both patients and healthcare staff are at risk of acquiring an infection and the purpose of the implementation of standard precautions is to minimise the transmission of infection within the healthcare environment for all who may be at risk.

Standard Precautions require all Healthcare Workers to:

- Assume that every person is potentially infected or colonised with an organism that could be transmitted in the healthcare setting.

- Apply a set of work practices to blood, all body fluids except sweat, mucous membranes  and non intact skin including:

- Hand hygiene

- Use of personal protective equipment

- Management of spillages of blood and body fluids

- Appropriate patient placement

- Management of sharps

- Safe injection practices

- Respiratory hygiene and cough etiquette

- Management of needlestick injuries

- Management of waste

- Management of laundry

- Decontamination of reusable medical equipment

- Decontamination of the environment

For further information relating to standard precautions refer to the Health Protection Surveillance Centre website www.hpsc.ie

Vaccination (see also Section 4.7)

The Immunisation Guidelines for Ireland issued by the National Immunisation Advisory Committee of the Royal College of Physicians in Ireland contains refers specifically to the immunisation of healthcare workers and others in at-risk occupations.

A risk assessment should be carried out to determine which, if any, vaccinations are recommended for workers. Decisions about vaccinations recommended should be based on the duties of the individual rather than on their job title alone.

Healthcare Waste

(see also Section 6.0 - Waste Management)

The Department of Health and Children’s Guidelines for Segregation, Packaging and Storage of Healthcare Risk Waste, 2004 offers guidance for a uniform system for the segregation and packaging of clinical or healthcare risk waste generated in the provision of patient care. It attempts to bring together good practice principles and the various regulatory requirements relating to waste generation and management. The guidelines are intended to encompass the vast majority of waste generated in the provision of patient care. Wastes contaminated with high risk biological agents – Risk Group 4 - are

outside the scope of the guidelines. Expert advice should be sought from specialists in

clinical microbiology and/or infection control in the rare event of having to deal with such

material. See the Department of Health and Children’s website www.dohc.ie publications section to view the full document.

Healthcare waste is the solid or liquid waste arising from healthcare activities. The first level of segregation of the waste is into healthcare risk waste (HCRW) and healthcare non risk waste.  Broadly speaking healthcare risk waste includes

- Biological (recognizable anatomical waste)

- Infectious

- Chemical, toxic or pharmaceutical including cytotoxins

- Sharps

- Radioactive

The categories of waste under each of these headings are detailed in the Department of Health and Children’s Guidelines for Segregation, Packaging and Storage of Healthcare Risk Waste, 2004.

Healthcare non-risk waste includes domestic waste, confidential material (includes shredded waste documents of a confidential nature), medical equipment assessed as non –infectious and potentially offensive material assessed as non-infectious i.e. not contaminated with blood or hazardous body fluid e.g. nappies or incontinence wear etc.

Second level segregation is between some fractions within the healthcare risk waste stream which have distinctly different properties. Segregation of healthcare risk waste in the first instance is based on the packaging requirements appropriate to safe containment of the waste and thereafter the packaging is distinguished by colour coding which allows streaming of the waste in accordance with the intended disposal method.

6.0	 Waste Management

Not only must care be taken when working with biological agents, but also when managing the resulting waste. The waste must be collected in appropriate containers and treated before disposal. How the waste is treated depends upon the characteristics of the waste (i.e., solid, liquid, mix) and the associated risk of the biological agent. The means of treatment for decontamination may involve chemical agents (e.g. bleach, ethanol), or physical means (e.g. autoclaving, incineration). Attention must be applied to ensure personal safety and that of others, as once treated, this material will be directed into the public domain. The legislation regarding the transport of dangerous goods by road (ADR) will be applicable if road transport of biological waste is involved. Consequently, there are other bodies which are concerned and regulate or set requirements regarding this waste (e.g. the Environmental Protection Agency and Local Authorities).

Decontamination of biological waste most commonly occurs through the use of pressure steam sterilisers (autoclaves) or the use of chemical disinfectants (e.g. alcohols, iodine or chlorine solutions). Chemical disinfectants have a range of properties and no single disinfectant is effective in all situations. Micro-organisms vary in their resistance to chemical disinfectants. To choose an appropriate chemical disinfectant, one should bear in mind the identity and concentration of micro-organisms present and the degree of inactivation required. Spores and prions tend to be very resistant to chemical disinfection.

Biological waste should be clearly labelled with a biohazard label so as to enable safe collection and disposal (see figure 1), there are strict requirements in place for the transportation of such waste through the ADR legislation.

(Diagrams to be inserted here)

Figure 1: Biohazard sign

The use or exposure to sharps (i.e.items capable of cutting or piercing the
skin) is common in a variety of workplaces for different reasons. An object may be defined as a sharp due to its design (i.e. needles, scalpel blades) or as a result of damage (i.e., broken test tubes or microscope slides).  and sharps in any form should be considered as potentially dangerous and must be handled and disposed of with caution. Additional risk may be present should the object be contaminated with an infectious agent or other hazardous material.

Biologically contaminated needle and blade waste should be collected for disposal in a suitable needle and blade waste container, see figure 2 below for some examples.

(Diagrams to be inserted here)

Figure 2-Examples of Sharps Disposal containers

These filled, closed containers can be autoclaved along with other biological waste. Steam sterilisation is generally not recommended for waste contaminated with or containing a combination or mixture of viable biological agents and significant amounts of hazardous chemical or radioactive materials. These situations should be handled on a case-by-case basis.

7.0	 Notification and Information to the Authority

Notification of information to the Health and Safety Authority has two aspects:

(1) when the employer wishes to use or work with a biological agent he/she must make the relevant notification, and

(2) the Authority in any event, may request the information that was used to complete the risk assessment under the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010 and the results of the risk assessment.

7.1	 Notification and Information Required by the Authority

Notifications under points 7.1.1 to 7.1.5 can be made electronically on the Health and Safety Authority’s website using the format outlined in Appendix 4.

All notifications, including any intended reduced containment (See 7.1.5), should be submitted to the Health and Safety Authority at least 30 working days prior to commencing work. If the form is completed online, it can be sent by email to the Health and Safety Authority.

Figure 1: The Notification Process

7.1.1	First use

Notification is required for the first use of any biological agents classified as groups 2, 3 or 4 biological agents (as listed in Schedule 1 of the Code of Practice) at particular premises. This means the first time that deliberate work with a particular group 2, 3 or 4 biological agent has ever been carried out at the place of work.

Workplace use can include carrying out activities such as propagation or concentration, of a biological agent for example in microbiology laboratories, if you obtain a biological agent to lodge in a culture collection, you will need to maintain that collection.   Deliberate work with the biological agent would ensue e.g. growing or culturing the biological agent to check for viability or for quality control purposes and so there is a notification requirement.

7.1.2	Subsequent use

Any subsequent use of any new self-classified group 3 biological agent and all new group 4 biological agents i.e. another strain of the biological agent, or where the risk of infection is different to that expected for the biological agent previously notified, requires notification to the authority of this biological agent.

7.1.3	Diagnostic work

Diagnostic work in laboratories will involve working with specimens that are likely to contain biological agents. Provided the work undertaken does not involve deliberate propagation or concentration of the biological agent then there is no requirement to notify for either first use or any subsequent use of the biological agent.

However, if the employer does provide a diagnostic service for a group 4 biological agent there is a requirement to notify the Health and Safety Authority in advance of carrying out the work for the first time.

Employers who provide a purely diagnostic service for group 2 and 3 biological agents only and where there is no propagation of the biological agent, are exempted from the notification requirements.

7.1.4	Self-Classification

If the biological agent being worked with does not appear in Schedule 1 of the Code of Practice, the employer must classify the agent themselves. The employer shall classify that biological agent in one of the groups according to its level of risk of infection as defined in the Code of Practice. If there is any doubt as to which of the two groups to assign the biological agent to he or she must assign it to the higher of the two groups. If the biological agent subsequently appears in a later edition of the Code of Practice, the classification given to it in that edition takes priority.  If the agent is classified as being in either Hazard group 2, 3 or 4 then work with the agent will need to be notified to the Authority. However, if notification of a group 2 agent has already occurred then there is no requirement to notify for a subsequent self-classified group 2 agent(s).

7.1.5	Dispensations from Full Containment Level 3

For certain  group 3 biological agents, (indicated by an asterisk in Schedule 1 of the Code of Practice) specific containment measures normally required at containment level 3 may be dispensed with under certain circumstances, either because of the nature of the agent being handled or the type of work being undertaken.

Dispensation from some level 3 requirements does not mean that the work can be carried out at Containment level 2. It means that certain physical containment measures required at containment level 3 (see Schedules 2 and 3 of the relevant Code of Practice) may be dispensed with as indicated in Schedule 4 of the related Code of Practice.

The employer will need to carry out a full risk assessment to determine the appropriateness of such dispensation and inform the authority of his or her plans to do so.

7.1.6	Risk Assessments & Preventive Measures Sections

Sufficient information must be written in this section to demonstrate that you have identified the hazards associated with this biological agent appropriate to the work to be undertaken. What circumstances staff and others could potentially be exposed to a source of infection during the work should be identified and the containment facilities specified. It is not sufficient just to identify the hazard group of the organism and list the containment level used (see Section 4.1).

7.1.7	Accidents, Incidents and Dangerous Occurrences

Where an incident, accident or dangerous occurrence has or may have resulted in the release of a biological agent which could cause severe human disease, as soon as practicable, the employer must ensure that the details are reported to the Authority as per Part X of the Safety, Health and Welfare at Work (General Application) Regulations 1993 (S.I. No. 44 of 1993).

Accidents can be reported to the Health and Safety Authority in two ways; namely:

  - by hard copy, i.e completing the Incident Report Form (IR1) or Dangerous Occurrence Form (IR3) and posting the completed form to the Workplace Contact Unit, Health and Safety Authority, The Metropolitan Building, James Joyce Street, Dublin 1, or

  - online, via the Health and Safety Authority's website, www.hsa.ie. Please follow the following link, https://webapps.hsa.ie/CIRW/

7.1.8 	Ceases to be an employer

The employer must deliver the occupational exposure register (see section 8.0) where he/she ceases to be an employer.

7.2	 Notification and information requested by the Authority

7.2.1	The employer must provide to the Authority, when requested, information used for carrying out any risk assessment under the Biological Agents Regulations and also with the findings of the risk assessment.

7.2.2	Where a risk assessment reveals a risk to any employee’s health or safety, the employer must provide the Authority, when requested, with appropriate information in writing relating to:

(i) The results of the risk assessment

(ii) The activities in which the employee has or may have been exposed

(iii) The number of employees exposed

(iv)The name and competencies of the persons responsible for health and safety

(v) The protective and preventative measures taken including work procedures and methods and

(vi) Relevant emergency plans for the protection of the employees.

7.2.3  The employer must provide employees or their representative (or both), at their request, with the information mentioned above in Section 7.2.2.

8.0	Occupational exposure registers

An employer must retain a register of employee(s) who may be exposed to a Group 3 or Group 4 biological agent(s). An exposure record is required where there is a likelihood of exposure, not just when there has been a known incident or accident relating to a biological agent. The requirement to maintain a register for exposure to certain biological agents is specified with “D” in the notes column of Schedule 1 of the relevant Code of Practice.

The rationale for keeping such records is to allow the management of the health and safety of exposed or potentially exposed workers. Many infections caused by group 3 or 4 biological agents will be acute and occur shortly after exposure, others can cause illnesses such as cancer many years after exposure. .

This register should describe the nature of the work being done by each employee and name the biological agent to which they may have been exposed to. Relevant dates, duration and the amount and type of exposure (i.e. inhalation, ingestion, absorption or injection) should be recorded. Accidents and incidents should also be recorded on the register and if necessary also be sent on an IR1 form to the Health and Safety Authority.

The occupational exposure register for an employee must be kept for at least 10 years following the employee’s last exposure. However, the occupational register should be kept up to 40 years if a biological agent has the potential to cause a persistent or latent infection, has a particularly long incubation period before illness develops or in the light of present knowledge, is not diagnosable until illness later develops. Such biological agents include for example, some hepatitis viruses, Human Immunodeficiency Virus, Human T-cell Lymphotrophic Virus and unconventional biological agents associated with certain encephalopathies e.g. prions.

There are currently no Occupational Exposure Limit Values (OELVs) set for biological agents, although some Member States of the EU have set limits relating to the toxins which can be produced by certain biological agents e.g. Aflatoxins in the Netherlands. OELVs have not been set because one essential difference between biological agents and chemical agents is their ability to replicate. A small amount of a micro-organism may grow considerably in a very short time under favourable conditions and so the amount of an organism present does not remain constant.

Where the results of the risk assessment indicate that the activity does not involve a deliberate intention to work with or use the particular agent and if there is no significant risk to the health of relevant employees, there is no requirement to maintain an exposure list.

Each employee should have access to the information on the list which relates to him or her personally.  The safety representative should have access to collective information, on request which does not identify any individual employees. The responsible medical practitioner and any inspector from the Health and Safety Authority should also have access to the list on request.

In the event of an employer ceasing to trade, an appropriate person (body corporate, liquidator or the person in possession of the register) must inform the Health and Safety Authority that they are ceasing to trade and deposit the occupational exposure register with such person as the Authority directs.

9.0 	 References & Further Information

- A review of the regulatory framework for handling animal pathogens (O’Callaghan Report-UK DEFRA, 2007)

- Anthrax in humans and animals (WHO, 2008)

- Biological Agents- Managing the risks in laboratories and healthcare premises (ACDP, 2005)

- Biological Agents- The principles, design and operation of containment level 4 facilities (ACDP, HSE, 2006)

- Biorisk Management- Laboratory Biosecurity Guidance. (WHO, 2006)

- Blood Borne Viruses in the Workplace-guidance for employers and employees (HSE,

- Brucellosis in Humans and Animals (WHO, 2006)

- BSE: Occupational Guidance (ACDP, 2007)

- Chronic Health Effects of Exposure to biological agents- A systemic literature review (HSE, 2002)

- Controlling the Risks of Infection at work from human remains (HSE, 2005)

- Expert forecast on emerging biological risks related to occupational safety and health (EASHW, 2007)

- Guidance on Regulations for the transportation of infectious substances 2007-2008 (WHO, 2007)

- Guideline for hand hygiene in health-care settings: recommendations of the healthcare infection control practices advisory committee and the HICPAC/SHEA/APIC/IDSA hand hygiene task force. http://www.ncbi.nlm.nih.gov

- Hand Hygiene guidelines fact sheet October 2002 (Centres for Disease Control and Prevention, USA)  http://www.cdc.gov

- HSG61- Health Surveillance at Work (HSE,1999)

- Infection at Work: Controlling the risks-A guide for employers and the self employed on identifying, controlling and assessing the risks of infection in the workplace. (ACDP, 2003)

- Infection risks to new and expectant mothers-guide for employers (ACDP, 2005)

- Laboratory Biosafety Manual-3rd Ed WHO (2004)

- Personal Protective Equipment Policy & Procedure (2009) Health Protection Scotland

- Preparedness for the deliberate use of biological agents-a rational approach to the

- unthinkable(WHO, 2002)

- Preventing Asthma at work, how to control respiratory sensitisers (HSE, 1994)

- Safe working and the prevention of infection in clinical laboratories and similar facilities (HSE, 2003)

- Sealability of Microbiological Containment level 3 and 4 facilities (HSE, 2006)

- Technical Rules for Biological Agents-(TRBA) 100- Protective Measures for Specific and Non-Specific Activities involving Biological Agents in Laboratories- (BauA, 2006)

- The large scale contained use of biological agents (ACDP, 1998)

- The Management, Design and operation of microbiological containment laboratories. (ACDP, 2001)

- The Occupational Zoonoses (HSE, 1993)

- Working Safely with Research Animals: Management of infection risks (ACDP, 1997)

- Working Safely with Simians: Management of infection risks (ACDP, 1998)

- Working with Sewage: health hazards a guide for employees (INDG 197, HSE, 2004)

- National Guidelines for the Control of Legionellosis in Ireland (HPSC, 2009)

Legal Obligations & Standards:

Irish Standard EN 529 Respiratory Protective Devices- Recommendations for selection, use, care and maintenance-guidance document

Irish Standard EN 420:2003 Protective Gloves- General Requirements and Test Methods

Irish Standard EN 374-1:2003 Protective gloves against chemicals and microorganisms

Irish Standard CEN TR 15321 Guidelines on the selection, use, care and maintenance of protective clothing

Irish Standard EN 1082-1:1997- Protective clothing-Gloves and arm guards protecting against cuts & stabs by hand knives: chain mail gloves and arm guards.

Irish Standard EN 464: 1994 Protective Clothing for use against liquid and gaseous chemicals, including aerosols and solid particles- test method: determination of leak tightness of gas tight suits (Internal Pressure Test)

Irish Standard EN13098:2001 Workplace Atmosphere-Guidelines for the measurement of airborne micro-organisms and endotoxin

Irish Standard EN 14031:2003 Workplace atmospheres-determination of airborne endotoxins

Irish Standard EN 1231:1997 Short term detector tube measurement systems. Requirements and test methods

Safety Health and Welfare at Work (General Application) Regulations 2007 Personal Protective Equipment- Regulations 62-67

Safety, Health and Welfare at Work Act 2005

Irish Standard EN 12469:2000 Performance Criteria for microbiological safety cabinets

Irish Standard EN 12547:1999 +A1 2009 Centrifuges- Common Safety Requirements

Irish Standard E.N 12128: 1998 Biotechnology-Laboratories for research, development and analysis-containment levels of microbiology laboratories, areas of risk, localities and physical safety requirements.

Irish Standard SR CWA 15793:2008 Laboratory Biorisk management standard

British Standard EN 5726:2005 Microbiological Safety Cabinets- information to be supplied by the purchaser to the vendor and to the installer, and siting and use of cabinets- recommendations and guidance.

APPENDIX 1

COMMON OCCUPATIONAL INFECTIONS

Table 1 - Common Occupational Infections & Sources

|  | Source of Infection |
| --- | --- |
|  | Blood, bodily fluids, body parts | Bodily Waste (Faeces, Urine, vomit) | Substantial Skin Contact | Infectious Aerosols (coughs, sneezes)-Airborne | Environmental microorganisms |
| People- Human Health & Social Work Activities | Hepatitis B & C, HIV | Haemorrhagic colitis/Haemolytic Uraemic Syndrome, Viral Gastroenteritis, Shigellosis,Salmonellosis, Hepatitis A | Ringworm | Tuberculosis, SARS |  |
| Animals- Agriculture, Forestry & Fishing |  | Tetanus (soil) Lyme Disease (Ticks found on animals & vegetation), Fungi & Moulds |
| Horses |  | Salmonellosis | Ringworm |  |  |
| Cattle | Bovine Tuberculosis, Q Fever, BSE | Leptospirosis, haemorrhagic colitis/haemolytic uraemic syndrome, Q fever, Cryptosporidiosis, Salmonellosis | Ringworm | Bovine Tuberculosis |  |
| Sheep/Goats | Chlamydiosis, Scrapie? | Q Fever, Haemorrhagic colitis/haemolytic uraemic syndrome, Salmonellosis, Cryptosporidiosis, toxoplasmosis | Orf |  |  |
| Cats |  | Toxoplasmosis | Ringworm |  |  |
| Dogs |  | Leptospirosis, Toxocariasis, Rabies | Ringworm |  |  |

APPENDIX 1

COMMON OCCUPATIONAL INFECTIONS

Table 1 - Common Occupational Infections & Sources continued

|  | Source of Infection |
| --- | --- |
|  | Blood, bodily fluids, body parts | Bodily Waste (Faeces, Urine, vomit) | Substantial Skin Contact | Infectious Aerosols (coughs, sneezes)-Airborne | Environmental microorganisms |
| Poultry | Chlamydiosis, Campylobacteriosis | Campylobacteriosis, Salmonellosis |  | Chlamydiosis |  |
| Pigeons & other birds | Chlamydiosis | Salmonellosis |  | Chlamydiosis |  |
| Rats |  | Leptospirosis |  |  |  |
| Reptiles |  | Salmonellosis |  |  |  |
| Pigs | Streptococcosis |  | Ringworm |  |  |
| Water Supply: Sewerage, Waste Management & Remediation |  | Leptospirosis, Hepatitis A, Hantavirus infection, gastrointestinal pathogens |  |  | Legionellosis (Natural & Artificial Systems), Fungi & Moulds |
| Construction, Mining, Quarrying & Ceramics |  | Histoplasmosis |  |  | Fungi & Moulds |
| Professional, Scientific & Technical Activities |  |  |  |  | Fungi & Moulds |

Table 2: Most Common Infections

| Bovine tuberculosis |  |
| --- | --- |
| Biological agent (Bacterium) | Mycobacterium bovis |
| Natural hosts | Cows, also been found in deer & badgers |
| Disease in humans | Chronic, progressive disease with fever & weight loss |
| Transmission Route | Inhaling infectious aerosols of respiratory discharges or possibly when handling meat from infected animals or drinking unpasteurised milk. |
| Campylobacteriosis |  |
| Biological agent (Bacterium) | Campylobacter jejuni |
| Natural hosts | Farm animals, chickens, wild birds & household pets |
| Disease in humans | Abdominal pain, fever and nausea |
| Transmission | Hand-to-mouth contact with faeces or contaminated material, handling of raw poultry during processing (contaminated with faeces) |
| Chlamydiosis |  |
| Biological agent (Bacterium) | Chlamydia psittaci |
| Natural hosts | Birds- caged, wild exotic birds, poultry, pigeons, sheep & goats |
| Disease in humans | Two forms: Birds-causes ornithosis/psittacosis – flu-like illness which may lead to pneumonia and in severe cases, endocarditis, hepatitis and death Sheep-causes ovine chlamydiosis- may cause abortion or flu-like illness |
| Transmission | Birds- inhaling infected respiratory discharges from infected birds or breathing in dust contaminate with faeces and/or respiratory discharges Sheep- contact with products of gestation, e.g. placentae, amniotic fluid or contaminated bedding |
| Cryptosporidiosis |  |
| Biological Agent (Parasite) | Cryptosporidium parvum |
| Natural hosts | Calves and lambs, goats and kids |
| Disease in humans | Diarrhoea and abdominal pain |
| Transmission | Hand-to-mouth contact with faeces or contaminated material |
| Fungi & Moulds |  |
| Biological agents | Various species- likely to be found in damp areas or naturally present in soil e.g. Aspergillusspp. |
| Natural hosts | Found widely in the environment |
| Disease in humans | Can cause infection and allergy (Farmer’s Lung) |
| Transmission | Inhaling spores, for example in dust from mouldy hay or when carrying out construction work |
| Haemorrhagic colitis/Haemolytic Uraemic Syndrome (HUS) |  |
| Biological agent (Bacterium) | Escherchia coli O157 |
| Natural hosts | Cattle, sheep, goats and deer |
| Disease in humans | Haemolytic uraemic syndrome (HUS) and haemorrhagic colitis are the most severe forms of the disease. Can cause a range of symptoms from mild diarrhoea to bloody diarrhoea (haemorrhagic colitis) and HUS. HUS is characterised by acute renal failure. |
| Transmission | Hand-to-mouth contact with faeces or contaminated objects |
| Hepatitis A |  |
| Biological agent (Virus) | Hepatitis A virus |
| Natural hosts | Humans |
| Disease in humans | Age dependent, more severe in adults, common symptoms include fever, headache. Jaundice, loss of appetite, vomiting and abdominal pain |
| Transmission | Hand-to-mouth contact with faeces or contaminated matter |
| Hepatitis B |  |
| Biological agent (Virus) | Hepatitis B virus |
| Natural hosts | Humans |
| Disease in humans | Infection may cause acute inflammation of the liver (hepatitis) which may be life-threatening. A person showing no symptoms may still carry the infection. |
| Transmission | Contact with blood (and other body fluids which may be contaminated with blood) via a skin penetrating injury or via broken skin. Through splashes of blood (and other body fluids which may be contaminated with blood) to eyes, nose and mouth. |
| Hepatitis C |  |
| Biological agent (Virus) | Hepatitis C virus |
| Natural hosts | Humans |
| Disease in humans | Acute infection may be symptom free or mild. If disease progresses, most common symptom is fatigue. At least 50% of those with acute infection develop chronic hepatitis. |
| Transmission | Contact with blood (and other body fluids which may be contaminated with blood) via a skin penetrating injury or via broken skin. Through splashes of blood (and other body fluids which may be contaminated with blood) to eyes, nose and mouth. |
| HIV (AIDS) |  |
| Biological agent (Virus) | Human immunodeficiency virus |
| Natural hosts | Humans |
| Disease in humans | Acquired immune deficiency disease and related conditions affecting the immune system |
| Transmission | Contact with bllod ( and other body fluids which may be contaminated with blood) via a skin-penetrating injury or via broken skin. Through splashes of blood (and other body fluids which may be contaminated with blood) to eyes, nose and mouth. |
| Legionellosis |  |
| Biological agent (Bacterium) | Legionella pneumophila |
| Natural host | Humans- but found naturally occurring in the aquatic environment |
| Disease in humans | Ranges in severity from a mild flu-like illness to the more severe pneumonic form, Legionnaires’ disease |
| Transmission | Inhaling contaminated water droplets, e.g. from cooling towers, showers, spa baths |
| Leptospirosis |  |
| Biological agent (Bacterium) | Leptospira icterhaemorrhagiae, L. hardjo |
| Natural hosts | Rodents (L. icterhaemorrhagiae) Cattle (L. hardjo) |
| Disease in humans | Rodents- Weil’s disease- fever, headache, vomiting, muscle pain, can lead to jaundice, meningitis and kidney failure- can be fatal Cattle- cattle-associated leptospirosis- flu-like illness of short duration, often with headache |
| Transmission | Rats- direct contact through breaks in the skin with infected urine or water contaminated with urine Cattle- splashing of urine during milking and other close contact |
| Lyme disease |  |
| Biological agent (Bacterium) | Borelia burgdorferi |
| Natural hosts | Ticks |
| Disease in humans | Begins with skin rash, often associated with flu-like illness. Later cardiac, arthritic and/or neurological diseases may develop |
| Transmission | Via the bite of infected ticks which are often found on the tips of vegetation waiting for a host to pass |
| Orf |  |
| Biological agent (virus) | Orf virus |
| Natural hosts | Sheep and goats |
| Disease in humans | Causes ulcerative lesions on face, hands and arms |
| Transmission | Direct skin contact with lesions on animals or by contact with virus on infected wool, hedges/fences etc where it can survive almost indefinitely |
| Q Fever |  |
| Biological agent (Bacterium) | Coxiella burnetii |
| Natural hosts | Sheep and cattle |
| Disease in humans | Mild illness- chills, headaches and general malaise, but rarely can progress to pneumonia, liver and heart valve damage and death. |
| Transmission | Usually by breathing in dust contaminated by placental tissue, amniotic fluids, urine and faeces. Also direct contact with the animal and these secreta/excreta. Micro-organism is resistant to drying and can survive for long periods in the environment. |
| Ringworm |  |
| Biological agent (Fungus) | Trichophyton- various species of the fungus |
| Natural hosts | Humans, cows (and some other farm animals, e.g. horses, pigs, sheep) |
| Disease in humans | Causes inflamed, swollen, crusty lesions mainly on hands, forearms, head and neck |
| Transmission | Direct skin contact with infected animal, spores enter through broken skin. |
| Salmonellosis |  |
| Biological agent (bacterium) | Various species of Salmonella bacterium |
| Natural hosts | Wild and domestic animals, birds (especially poultry), reptiles, amphibians (e.g. terrapins) and occasionally humans |
| Disease in humans | Diarrhoea, vomiting, fever |
| Transmission | Hand-to-mouth contact with faeces or contaminated matter |
| Shigellosis |  |
| Biological agent (bacterium) | Various species of the Shigella bacterium |
| Natural hosts | Humans |
| Disease in humans | Bloody diarrhoea- disease severity depends on infecting species |
| Transmission | Hand-to-mouth contact with faeces or contaminated objects |
| Streptococcosis |  |
| Biological agent (Bacterium) | Streptococcus suis |
| Natural hosts | Pigs |
| Disease in humans | May be severe and serious disease with meningitis & septicemia |
| Transmission | Inhaling infectious respiratory discharges, also direct contact through broken skin and contaminated meat |
| Tetanus |  |
| Biological agent (Bacterium) | Clostridium tetani |
| Natural hosts | Humans and animals, spores of the bacterium occur widely in the environment e.g. soil |
| Disease in humans | Exaggerated reflexes, muscle rigidity and uncontrolled muscle spasms- lockjaw |
| Transmission | Organism enters through broken skin |
| Toxocariasis |  |
| Biological agent (parasite) | Toxocara canis, Toxocara cati |
| Natural hosts | Dogs (canis) and cats (cati) |
| Disease in humans | Following ingestion of the eggs, these hatch and the larvae migrate to the liver, lungs, eyes and brain |
| Transmission | Hand-to-mouth contact with faeces or contaminated objects |
| Toxoplasmosis |  |
| Biological agent (parasite) | Toxoplasma gondii |
| Natural hosts | Cats |
| Disease in humans | May be without symptoms, can vary from persistent acute fever to rare infection in the brain, muscle and eye leading to death, causes abortion in pregnant women. |
| Transmission | Hand-to-mouth contact with faeces or contaminated objects |
| Tuberculosis |  |
| Biological agent (bacterium) | Mycobacterium tuberculosis |
| Natural hosts | Humans |
| Disease in humans | Disease develops slowly, usually takes several months for symptoms to appear, symptoms include fever and night sweats, coughing, losing weight and blood in phlegm or spit. |
| Transmission | Inhaling infectious respiratory discharges |
| Viral gastroenteritis |  |
| Biological agent (virus) | Most commonly small round structured viruses- Norwalk-like viruses |
| Natural hosts | Humans |
| Disease in humans | Vomiting, diarrhoea, fever |
| Transmission | Hand-to-mouth contact with faeces or contaminated objects, also from inhaling aerosols of projectile vomit- this can lead to environmental contamination, especially of toilets. |

Appendix 2

Risk Assessment Checklist for activities involving the deliberate Use of Biological Agents

This checklist can be used as an aid in compiling a detailed Risk Assessment for activities involving the deliberate use of biological agents.

The following should be included:

Preliminaries

Provide details of -the person responsible for the work -the person conducting the risk assessment -persons conducting the work -project/ work activity being undertaken -where the work will be carried out

Hazards and Risks

- Identify and describe the most hazardous procedures?

- What biological agents are to be used deliberately including name/ strain and classification1?

- What is the possibility of adventitious biological agents being present?

- Describe the hazards associated with the biological agents

- Identify routes of infections for each biological agent (s) (in the laboratory setting) and minimum infectious dose

- What is concentration and volume of biological agent (s) to be used?

- Is there known or suspected drug resistance of biological agent (s) to be used?

- Are strains attenuated or have increased virulence in any way?

- What is the biological agent (s) ability to survive e.g. resistance to chemical disinfection

- Are there any pre-existing medical issues that increase the risk associated with this biological agent(s) e.g. pregnancy, immunosuppression etc

- Assess for non-biological hazards such as chemicals to be used, non-ionising radiation, cryogenic gases etc

- Details of others who may be effected by the work activity e.g. maintenance workers, cleaners

Control Measures

- Describe level of Containment required for the work or per biological agent, if necessary

- Have preventative measures such as substitution with safer alternative being considered?

- How is the work segregated/ isolated from others not involved with the work activity?

- Is a Biological Safety Cabinet to be used, if so, what type and how will it be used?

- Is there any other local exhaust ventilation required?

- Are there any particular requirements required for the work area e.g. negative pressure, temperature control etc?

- How will the biological agent (s) be ‘transported’ within the laboratory to avoid accidental splashes, spills etc?

- How will this biological agent(s) be transported safely on site, if relevant?

- How are samples dealt with for shipment & receival?

- How will the biological agents be securely stored and procedures to determine if samples are missing?

- If biological agents are stored in Liquid Nitrogen, are there safety procedures in place for loading/ unloading samples?

- Describe procedures in place if infectious agent(s) are to be centrifuged

- Describe safety procedures in place if incubators are to be used e.g. to avoid spillages

- If sharps are to be used, detail justification of their use and procedures for use and disposal

- Describe procedures in place if animals or vectors are to be used

- Describe procedures in place where bioreactors or fermentors are to be used

- Provide details of Personal protective equipment to be used e.g. lab coats, gloves, eye protection etc

- Describe the hygiene measures in place

- Describe waste treatment procedures for both liquid and solid wastes prior to disposal and how are these methods validated as being effective

- Provide details for autoclave sterilisation methods

- Describe control measures in place where lone working may be involved

Administrative Controls

- Provide details of maintenance controls in place e.g. for BSCs, autoclaves etc

- Describe details of training and instruction provided to all relevant staff

- Is there a local code of practice to be adhered to e.g. biosafety manual of procedures

Emergency procedures

Describe emergency procedures in place for spillages within the Safety Cabinet, in the laboratory and outside the laboratory

Medical issues

- Is an assessment required to be undertaken by an Occupational Physician

- Details of Health Surveillance measures

Notification to Health and Safety Authority

- Is the work notifiable under Regulation 15 of the Safety, Health and Welfare (Biological Agents ) Regulations 2010

Appendix 3:

Risk Assessment checklist for activities involving incidental exposure to biological agent(s):

No intention to work with (i.e. isolate or concentrate) such biological agents, the hazardous biological agents may be present during work activities e.g work with farm animals, soil, refuse disposal work.

- Identification of possible biological agent hazard (s):

- Full details of Work Activity

- Circumstances in which incidental exposure could occur

- List potential Biological Agent (s) & hazard category (e.g. present in materials used or in the environment)

- Consider infection risk and allergenicity toxicity

- List of all staff who could potentially be exposed

- How often & how much exposure?

- How would exposure occur, routes of entry e.g. inhalation, ingestion or absorption?

- List any existing controls in place e.g. engineering controls, PPE, procedures?

- Assessment of Level of Risk & review if further action needed :

- How severe is any health effect likely to be? (Severity can be equated to hazard category of organism (s))

- How likely is exposure? High/Medium/Low

- Calculate risk= severity hazard x probability of exposure

- Is health surveillance required?

Appendix 4

Notification of use of biological agents

As required under Regulations 15 & 16 of the Safety, Health and Welfare at Work (Biological Agents) Regulations, 2010 (S.I. No. XX of 2010)

There are several courses of action relating to the notification required by the Safety, Health and Welfare at Work (Biological Agents) Regulations 2010.

Tick the appropriate box or boxes to indicate the purpose of the notification application and complete the appropriate sections of the form below.

- First use of biological agent (s)  groups 2, 3 or 4

- Each subsequent use of a new self classified group 3 biological agent

- Each subsequent use of a new group 4 biological agent

- Dispensation of some group 3 containment measures for certain biological agents

- First time use of a group 4 agent for a purely diagnostic service

- Re-notification following substantial changes to processes/procedures

Section 1: Details of Premises

1a. Name & Address of employer responsible for using the biological agent(s)

Name: 						Telephone number:

Address: 					Fax number:

Email address:

1b. Address of premise where biological agents (s) will be used (if different from 1a)

Address:  					Telephone number:

Fax number:

Email address:

Section 2: Hazard Groups of Biological Agent (s)

(See Biological Agents Code of Practice-Schedule 1)

Tick the appropriate box to indicate the Hazard Group(s) to which the biological agent (s) is assigned.

Group 2		Group 3		Group 4

Type of Biological Agent being notified (Bacterium/Virus/Fungus/Parasite/Other)

____________________________________________________________________

Species of biological agent being used: __________________________________

Is this agent self classified Y/N? ___________

Section 3:

Results of risk assessment/Preventative and Protective Measures to be used attached Y/N? ________________

Proposal & Justification for dispensation attached (if required) Y/N? ________

Name (s), qualification and relevant experience of person (s) responsible for safety and health at work:

Signed: 					     Date:

For Office Use Only

| Employer Place of Work Number (EPOW) | Employer No | Correspondence Number | Date Received |
| --- | --- | --- | --- |
| Comments: |  |

APPENDIX 5

Fumigation

Fumigation is a potentially hazardous process involving the release of toxic gases into the atmosphere to kill biological agents. For some group 3 agents and all group 4 agents, the work area including the room ventilation must be capable of being sealed for the purpose of fumigation.

Commonly used fumigants are: Formaldehyde, Hydrogen Cyanide, Methyl Bromide and phosphine for example.  The Safety, Health and Welfare at Work (Chemical Agents) Regulations 2001, apply to the use of such chemicals in the workplace. Under these Regulations, a risk assessment must be carried out prior to commencement of a fumigation operation.

Before any fumigant is released in an area ensure it is clear of people, non-target animals and plants and ensure non authorised personnel cannot gain access until the area has been vented and declared safe.

The fumigation area is always sealed from other areas and made as gas tight as possible. Nobody should enter during fumigation except in a major emergency. In such circumstances suitable personal protective equipment will need to be worn. The risk area comprises all adjacent spaces where it is considered that concentrations of fumigant above the Occupational Exposure Limit Value (OELV) could occur.

During fumigation, one should restrict the amount of the fumigant used to the minimum necessary to effectively carry out the fumigation safely. The fumigation area should be checked for leaks using a suitable atmospheric monitoring device. If leaks are detected, they must be dealt with by the individual in charge of the fumigation while wearing suitable Respiratory Protective Equipment (RPE). If it is not possible to seal the leak, the fumigation and risk area must be extended. Additional areas may need to be evacuated and warning notices erected as a result.

After application of the fumigant, equipment and surplus fumigant should be removed from the area. Ensure cylinder valves are closed and cylinder caps are in position. All equipment should be ventilated and inspected for residues while wearing appropriate PPE before placing into store or loading onto transport. Remove any contaminated clothing and equipment and air it in a well ventilated place for a minimum of two hours or until free of fumigant, whichever is the greater.

The fumigation and risk areas should be ventilated at the end of the fumigation period. If it is necessary to enter the fumigation area to effect the ventilation, e.g. open windows or doors, then suitable breathing apparatus should be used. The risk assessment should identify areas which may require forced ventilation to remove the fumigant, e.g. cellars, confined spaces, especially where heavy gases such as methyl bromide or sulfuryl fluoride are used. The individual in charge of the fumigation should ensure that all areas are safe for reoccupation by testing the atmosphere until the concentrations of fumigant have fallen below the OELV or other appropriate level. The individual in charge should wear appropriate RPE. Take special note of materials in the fumigation area that may continue to desorb gas following the end of the fumigation operation.

When all areas have been shown to be safe for reoccupation, barriers or warning signs can then be removed.

APPENDIX 6:

Further Information on Biological Safety Cabinets

There are three basic types of safety cabinet:

Class I cabinet

A class I cabinet is an open fronted cabinet designed to protect the operator by continuously drawing air into the front of the cabinet.. It works by drawing air into the cabinet away from the worker and then through High Efficiency Particulate Air [HEPA] filters.

Insert diagram

Class II cabinet

A class II cabinet is an open fronted cabinet designed to protect the operator from exposure and the work from external contamination.  The inward air is directed downwards into a plenum below the work surface and is filtered before being redirected into the work area as a laminar down flow of clean air.

Insert diagram

Class III cabinet

A Class III cabinet is a totally enclosed cabinet in which operations are conducted through gloves attached to glove ports. Air enters the cabinet through a HEPA filter at the side or rear of the cabinet and is exhausted in a similar way to a class I cabinet. Class III cabinets are designed to completely contain the hazardous agent and are used mainly for work with  group 4 biological agents or work with  group 3 biological agents deemed to be at high risk, for example where highly concentrated samples are being handled.  They offer the greatest protection to the worker and work..

Insert diagram

Irish Standard IS EN 12469 2000

The effectiveness of the micobiological safety cabinet depends on good design, suitable installation, ongoing maintenance and correct use

Performance criteria are set out in IS EN 12469:2000. Performance Criteria for microbiological safety cabinets. This standard sets out minimum performance criteria for these cabinets and specifies test procedures for protection of workers, the environment, protection of product and cross contamination. It also specifies tests for the protection of operators.

Arrangements for exhaust air

The preferred option for venting safety cabinets is to duct the exhaust air to the exterior of the building.

Positioning

Biological Safety Cabinets should be sited so as to minimise disturbance of the airflow at the front of the cabinet.

The key requirements are:

a) That the cabinet has sufficient clearance from walls, corners and doorways

b) That no obstacles are placed where they may interfere with the airflow

c) That sufficient room is provided for the operator to avoid interference with other workers.

Proper use of safety cabinets

Preparation for work

Appropriate protective clothing according to the level of containment and the risk assessment for the work should be worn Ensure that the cabinet is switched on and running for sufficient time to allow air-flow stability before starting the work Do not use unless the airflow indicator is registering in the 'safe' zone Prepare thoroughly for the work, e.g., number or code tubes, flasks, dishes etc., organise media, solutions, etc. (a check list may be useful, and/or referral to protocols, codes) Ensure active solutions of appropriate disinfectants (and granules or powders as required) are available according to local protocols and procedures Ensure the inside of the cabinet is clean and free of clutter Ensure the laboratory door is closed Ensure any equipment required for the work is available and ready for use (e.g., centrifuge, microscope, etc. - but note following section re use of equipment within the cabinet) Place work in the cabinet, ensuring clean and dirty materials is kept separate

Use of cabinets

Do not overcrowd the cabinet For open-fronted cabinets, always work as near to the centre of the work area as possible, but at least 15 cm from the front of the cabinet For Class II cabinets, never obstruct the air in-flow grille or any exhaust grilles. Obstructions will adversely affect performance and in particular operator protection. Large equipment (e.g. centrifuges, especially air-cooled models) should not be used within an open fronted cabinet unless the appropriate testing has been done to establish that containment performance is maintained Do not mix sterile with infected materials and avoid passing potentially infected material over clean material Dispose of equipment and contaminated material appropriately after use. Wherever practicable at containment level 2, this means disposal into appropriate containers or disinfectants within the safety cabinet. This must always be done at containment level 3 Never use a cabinet if its operational safety is in doubt. If the alarm sounds, make the work area secure, for open-fronted cabinets place the front on the cabinet, and inform the appropriate people according to local protocols and procedures.

Clearing the cabinets after use

Check the performance of the cabinet Remove samples for incubation, etc., after wiping down flasks, containers, etc. as appropriate with disinfectant Ensure that all containers for autoclaving and incineration are marked correctly and secured. Only remove contaminated materials from the cabinet as directed by local protocols and procedures. Normally, this will mean only when the material can be taken directly to the autoclave, although exceptionally it may be permitted to place containers in a holding area within the containment area Wipe all surfaces with disinfectant Leave fan(s) on for 5 to 10 minutes Where local arrangements require, turn off cabinet and replace front of open-fronted cabinet or inward filter cover (Class III). Precautions to be adopted for cleaning the interior of biological safety cabinets used for work with dangerous pathogens The interior of a biological safety cabinet should be wiped down with appropriate disinfectant or fumigated after use (see previous section). Normally it will not be necessary to remove the working surface grilles and indeed this should be avoided wherever possible. If it is absolutely necessary, the following precautions should be taken: Wear heavy duty PVC or rubber gloves that can be disinfected after use over normal surgical gloves to provide adequate protection for hands and wrists Spray the appropriate disinfectant at the prescribed dilution for the pathogens in use onto all exposed surfaces and allow sufficient time before proceeding Do not attempt to lift the grilles by placing the fingers through the holes or slots, which may have sharp edges. If no handles are provided, use an implement to hook or lever the grilles up from their housing so that the edges may be grasped safely. Warning: the edges may have sharp corners or edges Spray the appropriate disinfectant at the prescribed dilution onto all newly exposed surfaces. Allow sufficient time before proceeding For cleaning use a thick wad of material to protect your gloved hand from sharp edges Disinfect the outer gloves before removal Autoclave the cleaning material before disposal.

Training and competence

No person should be allowed to work at a biological safety cabinet unless proper training has been given and the person is competent to do the work.

The requirements for competence to use a biological safety cabinet should include full instruction in the following as a minimum,

- How to work at cabinets safely

- Classification of cabinets

- Appropriate and inappropriate use of cabinets

- Mode of operation and function of all controls and indicators

- Limitations of performance

- How to decontaminate after use

- Principles of airflow and operator protection tests.

Maintenance and testing

All biological safety cabinets must be regularly serviced and tested to ensure their continued safe performance and thereby to satisfy legislative requirements for risk control equipment.  The recommended maintenance and testing programme below is subject to local circumstances but should normally be regarded as a minimum. However, in low-risk areas (i.e. containment level 1 or equivalent) an annual frequency for all operations may be acceptable so long as it is subject to regular risk assessment review.  The recommended frequency for maintenance and testing is set out below:

| Operation | Frequency |
| --- | --- |
| Alarms/ indicators | daily |
| Air-flows: user | monthly |
| Filter integrity | 6-monthly |
| Mechanical and electrical function | 6-monthly |
| Mechanical integrity (including visible ductwork) | Annual |
| Operator protection | Level 2 annual; Level 3 6-monthly |

Appendix 7

Autoclave Checklists

Apparatus Checklist

a. Are safety devices, valves, gauges, controls, alarms etc simple to read and understand? b. Are they easily accessible to operatives of all sizes? c. Where machines have automatic door opening are alarms and trip devices fitted? d. Is there a suitable safety valve fitted? e. Is there a correct steam pressure gauge? f. Is the maximum safe working pressure clearly marked? g. Is a suitable reducing valve or similar automatic device fitted? h. Is there an isolating valve in the inlet line for each machine? i. For multi and single bolted door machines is a device fitted to break the seal? j. For quick opening type doors are the required devices provided?

### Checklist For Autoclave Uses and Procedures

a. Has the autoclave been examined according to a scheme of examination in the last 14 months? b. Is a permit system available and used for entering vessels for any reason? c. Are records kept of weekly checks on locks, guards, gauges and safety devices? d. Is the autoclave checked by a competent person at specified intervals and do the managers see the report? e. Are operators fully instructed and properly trained in correct operating procedures, purpose and function of the controls and safety devices?

# Footnotes

Taken from Infection at Work: Controlling the risks-A guide for employers and the self employed on identifying, controlling and assessing the risk of infection in the workplace. (UK Health and Safety Executive, 2003)

A list of Occupational Exposure Limits can be found in the Code or Practice for the Health, Safety and Welfare at Work (Chemical Agents), 2001 (S.I. No 619 of 2001).

# Text boxes

As required under Regulation 15 of the Safety, Health and Welfare at Work (Biological Agent) Regulations 2010 (S.I. No XX of 2010)